## Equipment
Devices highlighted with yellow color can be found from our webpage at "Equipment shop".
More information and unit specific pictures: https://www.eqtsolutions.fi/for-sale
MANUFACTURER | MODEL | DESCRIPTION | CATEGORY | SERIAL NUMBER | ASSET NUMBER | QUANTITY | OPTIONS
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200985425 | 10214 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201179559 | 10215 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201127391 | 10217 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201060849 | 10218 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201041453 | 10219 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200883067 | 10220 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200863166 | 10221 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200837796 | 10222 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200863190 | 10224 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200863189 | 10225 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6200938947 | 10226 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201127487 | 10227 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201127393 | 10228 |  | Please see unit pictures
Anritsu | MT8820C | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 6201041505
Anritsu | MT8815B | Radio communication analyzer 30MHz-2.7GHz | Radio Communication Analyzers/Testers | 6200681849 | 10401 |  | 001, 002
Anritsu | MT8815B | Radio communication analyzer 30MHz-2.7GHz | Radio Communication Analyzers/Testers | 6200711460 | 10402 |  | 001, 002
ANRITSU | MP1570A | SONET/SDH/PDH/ATM Analyzer | Radio Communication Analyzers/Testers | 6200478159 | 10507
Anritsu | MT8220A | UMTS Master 100kHz to 7.1GHz | Radio Communication Analyzers/Testers | 603119 | 10508
Anritsu | MT8860C |  | Radio Communication Analyzers/Testers | 6K00005506
Trend | Aurora Forte | Testeur ATM TREND COMMUNICATIONS | Radio Communication Analyzers/Testers | 437000A5/00847 | 10433
Rohde & Schwarz | CMU300 | Universal Radio Communication Tester | Radio Communication Analyzers/Testers | 100037 | 10757 |  | TBD
Rohde & Schwarz | CMU200 | Cellular tester (Universal radio communication tester) | Radio Communication Analyzers/Testers | 112263 | 10639 |  | K21: GSM900-MS, K22: GSM1800-MS, K23: GSM1900-MS, K24: GSM850-MS, K42: GPRS@GSM-MS, K43: EGPRS@GSM-MS, K44: DTM@GSM-MS, K53: Bluetooth, K56: HSUPA@WCDMA-UE, K57: WCDMA-UE Band7Sig, K58: WCDMA-UE Band8Sig, K59: WCDMA-UE Band9Sig, K60: HSDPA 14Mbps@WCDMA-UE, K61: WCDMA-UE Band4Sig, K62: WCDMA-UE Band5Sig, K63: WCDMA-UE Band6Sig, K64: HSDPA 3.6Mbps@WCDMA-UE, K65: WCDMA-UE TX-TESTS, K66: WCDMA-UE DL-GEN, K67: WCDMA-UE Band3Sig, K68: WCDMA-UE Band1Sig, K69: WCDMA-UE Band2Sig, B21 v14: Universal Signaling Unit, B53 v14: Signaling Module for Bluetooth, B54 v14: Signaling Module for GSM, TDMA, AMPS, B56 v14: Signaling Module for HSDPA, B66: Versatile Baseband Unit TX, B68: Versatile Baseband Unit TX+RX
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 101292 | 10232 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 106007-Hy | 10234 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 114305-wQ | 10235 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 116079-hC | 10236 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 122220-Ce | 10237 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wireless test sets, Protocols and Test Systems | Radio Communication Analyzers/Testers | 152971 | 10240 |  | Please see unit pictures
Rohde & Schwarz | CMW500 | Wideband radio communication tester | Radio Communication Analyzers/Testers | 124578-cV | 10184 |  | Please see unit pictures
Spirent | GSS6700 |  | Radio Communication Analyzers/Testers | 61201203
Agilent | E4438C | ESG Vector Signal Generator, 250kHz-3GHz | Signal Generators | US41460995 | 10242 |  | 001, 300, 400, 402, 403, 503 and UN7
Agilent | E4438C | ESG Vector Signal Generator, 250kHz-6GHz | Signal Generators | MY42082408 | 10638 |  | 005: Flash / Hard drive, 417: 802.11 A/B/G WLAN, 506: 250 kHz to 6GHz Frequency range, 602: Digital Bus Baseband Gen (64 MSAMPLE), UNJ: Improved Spectral Purity, UNB: High Power with Mechanical Attenuator
HP | E4421B | SIGNAL GENERATOR 250 KHZ - 3 GHZ | Signal Generators
Keysight | E4421B | SIGNAL GENERATOR 250 KHZ - 3 GHZ | Signal Generators | GB39340838 | 10435
Rohde&Schwarz | SMR20 | Signal Generator 10MHz - 20GHz | Signal Generators | 834231 / 036 | 10610 |  | SMR-B11 - Frequency Extension SMR-B15 - RF Attenuator 20 GHz
Agilent | E4438C | ESG Vector Signal Generator 250 kHz-6GHz | Signal Generators | MY47271324 | 10613 |  | 400: 3GPP W-CDMA FDD, 402: TDMA (GSM/EDGE and more), 403: Calibrated noise, 406: Bluetooth, 419: 3GPP HSPA FDD, 506: 250kHZ-6GHZ Freq. range, 601: Digital Bus Baseband Gen (8 MSAMPLE), UNB: High Power with Mechanical Attenuator, UNJ: Improved Spectral Purity
Agilent | E4438C | ESG Vector Signal Generator 250 kHz-6GHz | Signal Generators | MY45093063 | 10614
Agilent | E4438C | ESG Vector Signal Generator 250 kHz-6GHz | Signal Generators | MY42081427 | 10615
Agilent | E4438C | ESG Vector Signal Generator 250 kHz-6GHz | Signal Generators | US41460597 | 10616 |  | 002: Baseband generator, 400: 3GPP W-CDMA FDD, 402: TDMA (GSM/EDGE and more), 403: Calibrated noise, 506: 250kHZ-6GHZ Freq. Range, UNB: High Power with Mechanical Attenuator, UNJ: Improved Spectral Purity
Agilent | E4432B | ESG-D Series Digital RF Signal Generator, 3 GHz | Signal Generators | GB40050928 | 10436
Agilent | E4432B | ESG-D Series Digital RF Signal Generator, 3 GHz | Signal Generators | GB40051216 | 10437
Agilent | E4433B | SIGNAL GENERATOR 250 KHZ - 4 GHZ | Signal Generators | GB40051231 | 10438
Agilent | E4438C | ESG Vector Signal Generator | Signal Generators | US41461038 | 10439
AGILENT | E4438C | SIGNAL GENERATOR | Signal Generators | US41461040 | 10440
Agilent | E4433B | ESG-D Signal Generator, 250 kHz - 4 GHz | Signal Generators |  | 10251
Agilent | N5181A | MXG Analog Signal Generator | Signal Generators | MY48180250 | 10442
Agilent | N5182A | MXG Vector Signal Generator | Signal Generators | MY48180291 | 10445
Agilent | E4438C | ESG Vector Signal Generator | Signal Generators | MY42080933 | 10687 |  | 002: Baseband generator, 400: 3GPP W-CDMA FDD, 403: Calibrated noise, 503: 250KHz to 3GHz
Keysight | N5172B EXG | Vector Signal Generator, 9kHz-3GHz | Signal Generators | MY53051479 | 10700 |  | 403: Calibrated AWGN, 503: 3GHz freq. Range, 653: ARB Baseband gen. (60MHz, 32Msa), N7624B-3FP: Connect to N5182A sig. gen., N7624B-HFP: Basic LTE, N7624B-U02: Updates for N7624B
Keysight | N5172B EXG | Vector Signal Generator, 9kHz-3GHz | Signal Generators | MY53051874 | 10701 |  | 403: Calibrated AWGN, 503: 3GHz freq. range, 653: ARB Baseband gen. (60MHz, 32Msa), N7624B-3FP: Connect to N5182A sig. gen., N7624B-HFP: Basic LTE, N7624B-JFP: Basic LTE Advanced FDD, N7624B-SFP: Advanced LTE FDD, N7624B-TFP: Advanced LTE Advanced FDD, N7624B-U04: Updates for N7624B, N7624B-U05: Minor enhancement update
Anritsu | MG3700A | Vector signal generator, 50 KHz-6 GHz | Signal Generators | 62000480309 | 10244
HP | 8665A | Synthesized Signal Generator | Signal Generators | 2937A00284 | 10446
HP | ESG-D3000A | Digital Signal Generator | Signal Generators | GB37040144 | 10480
Rohde & Schwarz | SMB100A | Signal generator | Signal Generators | 175691-Xi / 1406.6000K03 | 10449 |  | SMB-120
Rohde & Schwarz | SMBV100A | Vector signal generator | Signal Generators | 257133 / 1407.6004K02 | 10450 |  | B10 – Baseband + ARB(32MS), B92 - Removable hard disc, B103 - 9kHz-3,2GHz, K40 - Dig.Std. GSM/EDGE, K41 - Dig.Std. EDGE+, K42 - Dig.Std. 3GPP FDD, K43 - Did.Std. 3Gpp Enh. BS/MS Test incl. HSDPA, K55 - Dig.Std. E-UTRA
Rohde & Schwarz | SMP02 | Signal generator 10MHZ-20GHz | Signal Generators | 834190/008 |  |  | B11: Frequency Extension 0.01 GHz to 2 GHz, B15: RF Attenuator 27 GHz, B19: Rear panel RF connector
Rohde & Schwarz | SMR20 | Microwave Signal Generator 10 MHz to 20 GHz | Signal Generators | 102060 | 10460 |  | B11: Frequency Extension, B15: RF Attenuator 20 GHz
Rohde & Schwarz | SMR20 | Microwave Signal Generator 10 MHz to 20 GHz | Signal Generators | 102283 | 10462 |  | B11: Frequency Extension, B15: RF Attenuator 20 GHz
Rohde & Schwarz | SMR20 | Microwave Signal Generator 10 MHz to 20 GHz | Signal Generators | 101132 | 10463 |  | B11: Frequency Extension, B15: RF Attenuator 20 GHz
Rohde & Schwarz | SMU200A | Vector signal generator, 2 x 100kHz-3GHz | Signal Generators | 103757 | 10045 |  | B10 – Baseband A with ARB(64MS) and Dig. Mod., B10 – Baseband B with ARB(64MS) and Dig. Mod., B13 – Baseband Main Module, B13 – Baseband Main Module, B103 – 100kHz-3GHz, B203 – 100kHz-3GHz, K42 – Dig. Std. 3GPP FDD, K43 – Dig. Std. 3GPP Enh. BS/MS Test incl. HSDPA, K55 – Dig. Std. E-UTRA, K62 – Additive White Gaussian Noise
Rohde & Schwarz | SMU200A | Vector signal generator, 2 x 100kHz-3GHz | Signal Generators | 100162 / 1141.2005K02 | 10464 |  | B10 – Baseband with ARB (x 2), B13 – Baseband Main Module (x 2), B14 – Fading Simulator, B15 - Fading Simulator Extension, B31 – High Power Output, B103 – 100kHz -3GHz, B203 – 100kHz -3GHz, K40 – Dig. Std. GSM / EDGE (x 2), K41 – Dig. Std. EDGE+ (x 2), K42 – Dig. Std. 3GPP FDD (x 2), K43 - Dig. Std. 3GPP Enh. BS/MS Test incl. HSPDA (x2), K45 – Dig. Std. 3GPP FDD HSUPA (x 2), K55 – Dig. Std. E-UTRA (x 2), K62 – Additive White Gaussian Noise (x 2),K69 – Dig. Std. LTE Closed Loop BS- Test, K71 – Dynamic Fading end Enh. Resolution (x 2), K74 – MIMO -Fading
Rohde&Schwarz | SMATE | Vector signal generator w/o display | Signal Generators | 101303 | 10706 |  | B10: Baseband with ARB 64MS (x 2), B13: Baseband Main Module (x 2), B106: 100kHz -6GHz, B206: 100kHz -6GHz, K42: Dig. Std. 3GPP FDD, K43: Dig. Std. 3GPP Enh. BS/MS Test incl. HSPDA, K49: Dig.Std.802.16 (x2) K55: Dig. Std. E-UTRA , K62: Additive White Gaussian Noise (x 2)
Rohde&Schwarz | SMATE | Vector signal generator w/o display | Signal Generators | 100725 | 10707 |  | B106, B206
Rohde&Schwarz | SMU200A | Vector signal generator | Signal Generators | 100949 | 10709 |  | TBD
Rohde&Schwarz | SMU200A | Vector signal generator | Signal Generators | 102417 | 10732 |  | B10,B10,B13,B13,B106,B203,K42,K43,K55,K62: B10: Baseband with ARB (x 2), B13: Baseband Main Module (x 2), B106: 100kHz - 6GHz, B203: 100kHz - 3GHz, K42: Dig. Std. 3GPP FDD (x 2), K43: Dig. Std. 3GPP Enh. BS/MS Test incl. HSPDA, K55: Dig. Std. E-UTRA (x 2), K62: Additive White Gaussian Noise (x 2)
Rohde&Schwarz | SMIQ04B | SIGNAL GENERATOR | Signal Generators | 838965/005 | 10711 |  | FRO SM-B50,MCOD SMIQB20, DGEN SMIQB11, DMXT SMIQB12, WCDMA SMIQB45, LACP SMIQB47, ENHCH SMIQB48
Rohde & Schwarz | SMU200A | Vector signal generator | Signal Generators | 100935 / 1141.2005K02 | 10465
Rohde & Schwarz | SMU200A | Vector signal generator | Signal Generators | 103543 | 10466
Rohde & Schwarz | SMU200A | Vector signal generator, 2 x 100kHz-3GHz | Signal Generators | 100633 | 10468 |  | B10 – Baseband with ARB (x 2), B13 – Baseband Main Module (x 2), B14 – Fading Simulator, B15 - Fading Simulator Extension, B30 – Overvoltage Protection, B35 – Overvoltage Protection, B103 – 100kHz -3GHz, B203 – 100kHz -3GHz, K40 – Dig. Std. GSM / EDGE (x 2), K41 – Dig. Std. EDGE+ (x 2), K42 – Dig. Std. 3GPP FDD (x 2), K43 - Dig. Std. 3GPP Enh. BS/MS Test incl. HSPDA, K49 – Dig. Std. 802 .16 (x 2), K55 – Dig. Std. E-UTRA (x 2), K62 – Additive White Gaussian Noise (x 2), K69 – Dig. Std. LTE Closed Loop BS- Test, K71 – Dynamic Fading end Enh. Resolution (x 2), K74 – MIMO -Fading
Rohde & Schwarz | SMU200A | Vector signal generator, 2 x 100kHz-3GHz | Signal Generators | 100934 | 10469 |  | B10 – Baseband with ARB (x 2), B13 – Baseband Main Module (x 2), B14 – Fading Simulator, B15 - Fading Simulator Extension, B35 – Overvoltage Protection, B103 – 100kHz -3GHz, B203 – 100kHz -3GHz, K40 – Dig. Std. GSM / EDGE (x 2), K41 – Dig. Std. EDGE+ (x 2), K42 – Dig. Std. 3GPP FDD (x 2), K43 - Dig. Std. 3GPP Enh. BS/MS Test incl. HSPDA (x 2), K55 – Dig. Std. E-UTRA (x 2), K62 – Additive White Gaussian Noise (x 2), K69 – Dig. Std. LTE Closed Loop BS- Test, K71 – Dynamic Fading end Enh. Resolution (x 2), K74 – MIMO -Fading
Rohde & Schwarz | SMU200A | Vector Signal Generator. 100 kHz to 2.2/3/4/6 GHz. | Signal Generators | 103534 | 10470
Rohde & Schwarz | SMU200A | Vector Signal Generator. 100 kHz to 2.2/3/4/6 GHz. | Signal Generators | 101608 | 10471
Rohde & Schwarz | SME06 | Signal generator 6GHz, 1038.6002.06 | Signal Generators | 832734/004 | 10114
Rohde & Schwarz | SMIQ03HD | Signal Generator, 300 kHz - 3.3 GHz | Signal Generators |  | 10249
Rohde & Schwarz | SME03 | Signal Generator, 5 kHz - 3 GHz | Signal Generators |  | 10250
Rohde & Schwarz | SME03 |  | Signal Generators | 825781/016
R&S | SMU200A | Vector signal generator | Signal Generators | 103696 | 10756 |  | 2x B10, 2x B13, 2x 6GHZ, K42, K55, K62
R&S | SMIQ03B | Signal Generator, 300kHz-3.3GHz | Signal Generators | 100719 | 10758 |  | TBD
R&S | SME03 | Signal Generator, 5KHz-3GHz | Signal Generators | 967322007 | 10759 |  | TBD
HP | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 3744a01070 | 10762 |  | TBD
HP | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 3744a01848 | 10766 |  | TBD
HP | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 3546A00943 | 10768 |  | TBD
Agilent | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 3744a01681 | 10769 |  | TBD
Agilent | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 3546a00856 | 10770 |  | TBD
R&S | SMIQ03B | Signal Generator, 300kHz-3.3GHz | Signal Generators | 837365071 | 10779 |  | TBD
HP | 8665B | Signal Generator 100kHz-6GHz | Signal Generators | 203a00232 | 10781 |  | 001,004
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100420 | 10253 |  | SM-B50, SMIQB20, B11, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101081 | 10254 |  | SM-B50, SMIQB20, B11, B12, B45, B47, B48
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 835742/100 | 10256 |  | SM-B50, B1, SMIQB20, B11, B12, B45, B47, B48, B60
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 835467/036 | 10258 |  | SM-B50, B1, SMIQB20, B11, B12, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 829874/002 | 10261 |  | SM-B50, B1, B5, SMIQB10, B11, B12, B14, B15, B42
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100861/0003 | 10262 |  | SM-B50, SMIQB20, B11, B14, B15, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101518/0003 | 10264 |  | SM-B50, SMIQB11, B20, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101082/0003 | 10265 |  | SM-B50, SMIQB20, B11, B12, B45, B47, B48
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101515/0003 | 10266 |  | SM-B50, SMIQB20, B11, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100554 | 10267 |  | SMIQB20, B11, B45, B47, Battery kit 1085.067.00
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100555 | 10268 |  | SMIQB20, B11, B45, B47, Battery kit 1085.067.00
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100031 | 10269 |  | SM-B50, SMIQB20, B11, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 838234/0062 | 10270 |  | SM-B50, SMIQB20, B11, B12, B14, B15, B17, B21, B45, B47, B48, B49
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 100018/0003 | 10271 |  | SM-B50, SMIQB20, B11, B45, B47
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 838235/027 | 10273 |  | SM-B50, SMIQB20, B11, B12, B14, B15, B17, B21, B45, B47, B48, B49
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101143 | 10274 |  | SM-B50, SMIQB20, B11, B12, B14, B15, B17, B21, B45, B47, B48, B49
Rohde & Schwarz | SMIQ03B | Signal Generator 300 kHz - 3.3 GHz | Signal Generators | 101501 | 10275 |  | SM-B50, SMIQB20, B11, B45, B47
Rohde & Schwarz | SMIQ06B | Signal Generator 300 kHz - 6.3 GHz | Signal Generators | 833720/012 | 10276 |  | SM-B50, B1, SMIQB20, B11, B12, B14, B15, B45, B47
Rohde & Schwarz | SMIQ03 | SIGNAL GENERATOR | Signal Generators | 837366/003 | 10451
Rohde & Schwarz | SMIQ03B | Signal Generator | Signal Generators | 83834/044 | 10452
Rohde & Schwarz | SMIQ03B | Signal Generator | Signal Generators | 836207/052 | 10453
Rohde & Schwarz | SMIQ03B | SIGNAL GENERATOR | Signal Generators | 100419 | 10454
Rohde & Schwarz | SMIQ03B | Signal Generator | Signal Generators | 100032 | 10455
Rohde & Schwarz | SMIQ03B | Vector Signal Generator 300 kHz to 3.3 GHz | Signal Generators | 100545 | 10457
Rohde & Schwarz | SMIQB03 | Vector Signal Generator 300 kHz to 3.3 GHz | Signal Generators | 100556 | 10458
Agilent Technologies | 8656B | Signal Generator | Signal Generators | 3334U14807 | 10397
Panasonic | VP-8174A | Signal Generator | Signal Generators | 940116A122 | 10391
Panasonic | VP-8174A | Signal Generator | Signal Generators | 020283A122
Panasonic | VP-8179B | Signal Generator | Signal Generators | 529387 | 10311
Rohde & Schwarz | SML 03 | Signal Generator | Signal Generators | 101265
Agilent | N9020A | MXA Signal Analyzer, 20Hz-3.6GHz | Signal/Spectrum Analyzers | US46470591 | 10016
Agilent | E4411B | Spectrum Analyzer 9 kHz - 1.5 GHz | Signal/Spectrum Analyzers | MY45102779 | 10340
Anritsu | MS2690A | Signal Analyzer 50Hz-6GHz | Signal/Spectrum Analyzers | 6201032579 | 10002
Anritsu | MS2690A | Signal Analyzer 50Hz-6GHz | Signal/Spectrum Analyzers | 6201280099 | 10004
Anritsu | MS2830A | Signal Analyzer, 9 kHz - 3.6 GHz | Signal/Spectrum Analyzers | 6200847097 | 10341 |  | 002 - High Stability Reference Oscillator, 005 - Analysis Bandwith 31.25MHz, 006 - Analysis Bandwidth 10MHz
Anritsu | MS2830A | Signal Analyzer, 9 kHz - 3.6 GHz | Signal/Spectrum Analyzers | 6200847099 | 10342 |  | 002 - High Stability Reference Oscillator, 005 - Analysis Bandwidth 31.25MHz, 006 - Analysis Bandwidth 10MHz, 040 - 3.6GHz Signal Analyzer
Anritsu | MS2830A | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 6200847094 | 10782 |  | TBD
HP | E4405B | ESA-E Spectrum Analyzer, 9 kHz to 13.2 GHz | Signal/Spectrum Analyzers | US39240187 | 10027 |  | A4H, B75
HP | E4405B | ESA-E Spectrum Analyzer, 9 kHz to 13.2 GHz | Signal/Spectrum Analyzers | US39240188 | 10028 |  | 1DR, 1DS, 1D5, A4H, B75
HP | E4405B | ESA-E Spectrum Analyzer, 9 kHz to 13.2 GHz | Signal/Spectrum Analyzers | US39380203 | 10343 |  | 1D6, A4H, B75
HP | 8562E | Portable Spectrum Analyzer, 30 Hz to 13.2 GHz | Signal/Spectrum Analyzers | SN00375 | 10050
HP | 8591E | Spectrum Analyzer 9 kHz - 1.8 GHz | Signal/Spectrum Analyzers | 3441A03535 | 10344 |  | 021, 101
HP | 8594E | Portable Spectrum Analyzer, 9 kHz to 2.9 GHz | Signal/Spectrum Analyzers | 3528U01412 | 10347 |  | 041 - HP-IB and Parallel Printer Interfaces, 140 - Narrow Bandwidths and Precision Frequency Reference
HP | 8594E | Spectrum Analyzer, 9kHz-2.9GHz | Signal/Spectrum Analyzers | 3528U01413 | 10349 |  | 041, 140
HP | 8594E | Spectrum Analyzer, 9kHz-2.9GHz | Signal/Spectrum Analyzers | 3809U03796 | 10351 |  | 041, 101, 105, 102
Keysight | N7109A | Multi-Channel Signal Analyzer, 8-Channel | Signal/Spectrum Analyzers | US50510122 | 10352
Keysight | N7109A | Multi-Channel Signal Analyzer, 4-Channel | Signal/Spectrum Analyzers | US53480166 | 10353
Keysight | N7109A | Multi-Channel signal Analyzer | Signal/Spectrum Analyzers | US50510123 | 10702 |  | TBD
Agilent | 8560E | Portable Spectrum Analyzer, 30 Hz to 2.9 GHz | Signal/Spectrum Analyzers | 3943A04718 | 10686 |  | TBD
Agilent | N9020A | MXA Signal Analyzer 20 Hz-8,4 GHz | Signal/Spectrum Analyzers | MY50410065 | 10688 |  | 89601B: Basic VSA, HW connectivity and WCDMA/HSPA mod. analysis, N9020A-508: Freq range 8.4GHz, N9020A-B25: Analysis Bandwidth 25MHz, N9060A-2FP: Spectrum Analyzer Measurement Application, N9060A-3FP: Amplitude correction and limit lines, N9060A-4FP: TOI and harmonics
Keysight | E4443A | PSA Series Spectrum Analyzer, 3 Hz - 6.7 GHz | Signal/Spectrum Analyzers | MY44300936 | 10482 |  | 1DS: RF internal preamplifier, 100 kHz to 3 GHz, 202: GSM w/ EDGE (Requires B7J), 210: HSDPA/HSUPA (for W-CDMA) (Requires B7J and BAF), B7J: Digital demodulation hardware, BAF: W-CDMA (Requires B7J)
Agilent | E4443A | PSA Series Spectrum Analyzer, 3 Hz - 6.7 GHz | Signal/Spectrum Analyzers | MY46182004 | 10483 |  | 1DS: RF internal preamplifier, 100 kHz to 3 GHz, 202: GSM w/ EDGE (Requires B7J), B7J: Digital demodulation hardware
HP | 8562E | SPECTRUM ANALYZER | Signal/Spectrum Analyzers | 3821A00793 | 10503
AGILENT | 8594E | SPECTRUM ANALYZER | Signal/Spectrum Analyzers | 3414U00837 | 10504
Agilent | 8593E | Portable Spectrum Analyzer, 9 kHz to 22 GHz | Signal/Spectrum Analyzers | 3809U02010 | 10505
Agilent | 8595E | Spectrum Analyzer | Signal/Spectrum Analyzers | 3911A04885 | 10506
Rohde & Schwarz | FSV7 | Signal Analyzer, 9kHz-7GHz | Signal/Spectrum Analyzers | 101623 | 10354 |  | B22 - RF Preamplifier B25 - Electronic Attenuator K10 - GSM K72 - 3GPP Base Station K100 - LTE FDD Downlink K102 - LTE Downlink MIMO K104 - LTE TDD Downlink
Rohde & Schwarz | FSV3 | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 101522 | 10355 |  | B22 - RF Preamplifier, B25 - Electronic Attenuator B29 - Frequency Extension 20Hz K10 - GSM K72 - 3GPP Base Station
Rohde & Schwarz | FSIQ 3 | Signal Analyzer 20 Hz to 3.5 GHz | Signal/Spectrum Analyzers | 100031 | 10484
Rohde & Schwarz | FSIQ7 | Signal Analyzer | Signal/Spectrum Analyzers | 100013 | 10485
Rohde & Schwarz | FSIQ7 | Signal Analyzer 20 Hz to 7 GHz | Signal/Spectrum Analyzers | 100008/017 | 10486
Rohde&Schwarz | FSIQ7 | Singal analyzer | Signal/Spectrum Analyzers | 835376/010 | 10710 |  | TBD
Rohde & Schwarz | FSQ8 | Signal Analyzer | Signal/Spectrum Analyzers | 200236 | 10487
Rohde&Schwarz | FSQ8 | Signal Analyzer, 20Hz-8GHz | Signal/Spectrum Analyzers | 200451/008 | 10705 |  | K93: Wimax FSQ802.16e, K94: FSQ802.16e MIMO, K100: LTEFDD Downlink, K102: LTE Downlink MIMO, K104: LTE TDD Downlink, K101: LTE FDD Uplink
Rohde&Schwarz | FSIQ26 | Signal Analyzer 20Hz-26,5GHz | Signal/Spectrum Analyzers | 838600/007 | 10708 |  | TBD
Rohde & Schwarz | FSIQ26 | Signal Analyzer 20Hz-26,5GHz | Signal/Spectrum Analyzers | 837991/028 | 10488
Rohde & Schwarz | FSIQ26 | Signal Analyzer 20Hz-26,5GHz | Signal/Spectrum Analyzers | 100200 | 10490 |  | B4: Low phase noise, B5: FFT Bandwidth 1Hz-1kHz, B10: TG 7GHz, B13: RF attenuator 1db, B70: DSP & IQ extension, K11: GSM BTS analysis , K21: EDGE BTS Measurements, K72: W-CDMA BTS Analyzer
Rohde & Schwarz | FSIQ26 | Signal Analyzer 20Hz-26,5GHz | Signal/Spectrum Analyzers | 100282 | 10001 |  | amp
Rohde & Schwarz | FSIQ26 | Signal Analyzer 20Hz-26,5GHz | Signal/Spectrum Analyzers | 100280 | 10491 |  | B4: Low phase noise, B5: FFT Bandwidth 1Hz-1kHz, B7: Vector signal analysis, B10: TG 7GHz, B13: RF attenuator 1db, B70: DSP & IQ extension, K72: W-CDMA BTS analyzer
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 200157/026 | 10492 |  | B23: RF preamplifier, B25: electronic attenuator, K10: GSM / EDGE / EDGE Evolution, K72: WCDMA FDD, K74: WCDMA HSDPA, K74+: WCDMA HSPA+, K100: LTE FDD Downlink
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 100210 | 10493 |  | B23: RF preamplifier, B25: electronic attenuator, K10: GSM / EDGE / EDGE Evolution, K72: WCDMA FDD, K74: WCDMA HSDPA, K74+: WCDMA HSPA+, K100: LTE FDD Downlink
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 200582 | 10494
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 200581 | 10495
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 200278 | 10496
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 200402 | 10497 |  | B23: RF preamplifier, B25: electronic attenuator, K10: GSM / EDGE / EDGE Evolution, K30: Noise Figure V4.71 SP1, K72: WCDMA FDD, K74: WCDMA HSDPA, K74+: WCDMA HSPA+, K100: LTE FDD Downlink
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz, 1155.5001K26 | Signal/Spectrum Analyzers | 200624 | 10498 |  | K10: GSM / EDGE / EDGE Evolution, K72: WCDMA FDD, K74: WCDMA HSDPA, K74+: WCDMA HSPA+, K93: FSQ 802.16e V4.61, K100: LTE FDD Downlink, K104: K100: LTE TDD Downlink, K101: LTE FDD Uplink, K105: LTE TDD Uplink
Rohde & Schwarz | FSQ26 | Signal Analyzer 20 Hz to 26.5 GHz | Signal/Spectrum Analyzers | 100367 | 10499 |  | K9: Power Meter, K72: WCDMA FDD BTS Analyzer V4.70SP2, K74: WCDMA HSDPA BTS V4.70SP2, K92: FSQ 802.16 V4.00, K92UP: FSQ 802.16e, FSU-B25: Electronic Attenuator, FSQ-B71: Analog Baseband Inputs , FSQ-B72: I/Q Bandwidth Extension
Rohde & Schwarz | FSP13 | Spectrum Analyzer, 9kHz-13.6GHz | Signal/Spectrum Analyzers | 100222 | 10637 |  | K7: FM Demodulator, FSP-B4: OCXO Reference Frequency, FSP-B16: LAN Interface 100BT for all FSP models with Windows XP
Rohde & Schwarz | FSV7 | Signal Analyzer, 9kHz-7GHz | Signal/Spectrum Analyzers | 1307.9002K07 Ser.102189 | 10502
Rohde & Schwarz | FSV3 | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 101643 | 10056
Agilent | E4445A | PSA Spectrum Analyzer, 3 Hz to 13.2 GHz | Signal/Spectrum Analyzers | my45300910 | 10750 |  | 140: 40MHz Banwidth Digitizer, 202: GSM w/EDGE, 210: W-CDMA w/HSDPA/HSUPA, B7J: Digital Demod HW, BAF: W-CDMA
R&S | FSV7 | Signal Analyzer, 9kHz-7GHz | Signal/Spectrum Analyzers | 101176 | 10751 |  | B22: RF Preamplifier, K100: EUTRA/LTE Downlink, K93: WiMAX
R&S | FSV3 | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 102130-ja | 10752 |  | B4: OCXO Reference, B17: Digital Baseband I/O, B22: RF Preamplifier, B25:Electronic Attenuator, B29: Freq ext 20Hz, K104: LTE TDD Downlink
R&S | FSV4 | Signal Analyzer, 10kHz-4GHz | Signal/Spectrum Analyzers | 101321-mr | 10753 |  | B9: TG, B29: Frequency Extension 20Hz, B70: 40 MHz Analysis Bandwith, K7: Analog Demod, K100: LTE FDD Downlink, Attenuator 7GHz
R&S | FSV7 | Signal Analyzer, 9kHz-7GHz | Signal/Spectrum Analyzers | 101761 | 10754 |  | K100
R&S | FSP7 | Spectrum analyzer 9kHz-7GHz | Signal/Spectrum Analyzers | 100156 | 10755 |  | TBD
R&S | FSV3 | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 102239 | 10767 |  | B29: Freq ext 20Hz, K72: 3GPP Base Station, K100: LTE FDD Downlink
R&S | FSV3 | Signal Analyzer, 9kHz-3.6GHz | Signal/Spectrum Analyzers | 102126 | 10775 |  | B4: OCXO Reference, B17: Digital Baseband I/O, B22: RF Preamplifier, B25: Electronic Attenuator, B29: Freq ext 20Hz, K10: GSM, K72: 3GPP Base Station, K100: LTE FDD Downlink
R&S | FSIQ3 | Signal Analyzer 3,5GHz | Signal/Spectrum Analyzers | 838150008 | 10780 |  | B4, B5. B7
Rohde & Schwarz | FSIQ 7 | Signal Analyzer, 20Hz-7GHz | Signal/Spectrum Analyzers | 836130/022 | 10041
Rohde & Schwarz | FSA | Spectrum analyzer | Signal/Spectrum Analyzers |  | 10116
Rohde & Schwarz | FSIG 3 | Signal analyzer, 9kHz-3,5GHz | Signal/Spectrum Analyzers | 100044 | 10357
Rohde & Schwarz | FSIG 3 | Signal analyzer, 9kHz-3,5GHz | Signal/Spectrum Analyzers | 100052 | 10358
Rohde & Schwarz | FSIG 3 | Signal analyzer, 9kHz-3,5GHz | Signal/Spectrum Analyzers | 834070-007 | 10359
Rohde & Schwarz | FSEA30 | Spectrum Analyzer, 20Hz-3.5GHz | Signal/Spectrum Analyzers | 826991/010 | 10044
Tektronix | RSA3408A | Real-Time Spectrum Analyzer, DC 8GHz | Signal/Spectrum Analyzers | B010385 | 10356
Agilent | 16823A | Logic Analyzer | Signal/Spectrum Analyzers | MY49030105
Agilent | 54832D | MSO,1GHz, 4GSa/s | Oscilloscopes | MY42001053 | 10360
Keysight | MSOS054A | 500 MHz, 20 GSa/s, 4 Analog Channels, 16 Digital Channels, Mixed Signal Oscilloscope | Oscilloscopes | MY55510133 | 10055
Tektronix | TDS794D | 2 GHz, 4GS/s, 4 channel digital oscilloscope | Oscilloscopes | B031647 | 10052
Tektronix | TDS520D | 2ch, 500MHz, 2GS/s | Oscilloscopes | B021429 | 10362
Tektronix | TDS520A | Two Channel Digitizing Oscilloscope | Oscilloscopes | B011721 | 10529
Tektronix | TDS510A | Two Channel Digitizing Oscilloscope | Oscilloscopes | B011100 | 10363
Tektronix | TDS510A | Digitizing oscilloscope, 4 ch 500MHz 500MS/s | Oscilloscopes | B011099 | 10364
Pico | 2205 | Picoscope PC oscilloscope | Oscilloscopes | AQ521/610 | 10120
Pico | 4424 | Picoscope PC oscilloscope | Oscilloscopes | AR584/070* | 10122
Pico | 4424 | Picoscope Oscilloscope | Oscilloscopes | CZ099/019 | 10123
Pico | 3425 | Picoscope PC oscilloscope | Oscilloscopes | AP501/020* | 10121
Agilent | DSAX91604A | 80 GSa/s 16 GHz 4Ch DSA Oscilloscope | Oscilloscopes | MY51100115 | 10523
Agilent | DSOX3034A | Oscilloscope | Oscilloscopes | MY53100249 | 10689 |  | TBD
Tektronix | TDS694C | Oscilloscope | Oscilloscopes | b010685 | 10684 |  | TBD
Tektronix | DPO7104 | Oscilloscope | Oscilloscopes | B068511 | 10715 |  | TBD
Agilent | 8712ES | Network Analyzer(S-parameter), 300kHz-1.3GHz, 75ohm | Network Analyzers | US39440424 | 10284 |  | 1EG
Agilent | 8712ET | Network Analyzer, 300kHz - 1.3GHz, 75 Ohm | Network Analyzers | US40221453 | 10285 |  | 1E1, 1EC
Agilent | 8712ET | Network Analyzer, 300kHz - 1.3GHz, 75 Ohm | Network Analyzers | US40371786 | 10286 |  | 1E1, 1EC
Agilent | E5071C | ENA Series Network Analyzer 9kHz - 8.5GHz | Network Analyzers | MY46522294 |  |  | 019, 480, UNQ
Agilent | E5071C | ENA Series Network Analyzer 9kHz - 8.5GHz | Network Analyzers | MY46521085 |  |  | 019, 480, UNQ
Agilent | E5071C | ENA Series Network Analyzer 9kHz - 8.5GHz | Network Analyzers | MY46520456 |  |  | 019, 480, UNQ
Rohde & Schwarz | ZVR | 2-Port Vector Network Analyzer 10 Hz / 9 Hz – 4GHz | Network Analyzers | 100029 | 10477 |  | B21: Generator Step Attenuator (Port 1), B22: Generator Step Attenuator (pORT 2), B23: Receiver Step Attenuator (Port 1), B24: Receiver Step Attenuator (Port 2), B25: External Measurements, B5: Nonlinear Measurements, B6: Reference Channel Ports, B10: Increased Output Power for Port1, B16: Ethernet RJ 45 for Internal PC
Rohde & Schwarz | ZVRE | 2-Port Vector Network Analyzer 10 Hz / 9 Hz – 4GHz | Network Analyzers | 100017 | 10478 |  | B21: Generator Step Attenuator (Port 1) , B23: Receiver Step Attenuator (Port 1), B24: Receiver Step Attenuator (Port 2), B25: External Measurements, B6: Reference Channel Ports, B7: Power Calibration
Rohde & Schwarz | ZVT20 | Vector Network Analyzer 10MHz-20GHz | Network Analyzers | 100105 | 10607 |  | ZVA-K4 arbitary gen+rec freqs, ZVT20-B63, 64, 65, 66 additional port 3-6
Rohde&Schwarz | ZVB4 | Network Analyzer | Network Analyzers | 100179 | 10712 |  | TBD
Rohde&Schwarz | ZVB4 | Network Analyzer | Network Analyzers | 100200 | 10713 |  | TBD
HP | 8711C | RF Network Analyzer, 300 kHz - 1300 MHz, 75 ohm | Network Analyzers | GB37120174 | 10365 |  | 1E1, 1EC
Rohde & Schwarz | ZVRE | Vector Network Analyzer 9kHz - 4GHz | Network Analyzers | 838510/002 | 10035
Rohde & Schwarz | ZVC | NETWORK ANALYZER VECTOR | Network Analyzers | 100039 | 10475
Agilent | 8712ET | Network Analyzer 300kHz - 1.3GHz 75 Ohm | Network Analyzers | US39250718 | 10366 |  | 10
HP | 8712ET | Network Analyzer | Network Analyzers | US39150544 | 10279 |  | 1E1, 1EC
HP | 8712ET | Network Analyzer | Network Analyzers | US39150586 | 10280 |  | 0B0, 1E1, 1EC
HP | 8712ET | Network Analyzer | Network Analyzers | US39150587 | 10281 |  | 0B0, 1E1, 1EC
HP | 8712ET | Network Analyzer | Network Analyzers | US39250801 | 10282 |  | 0BC, 1E1, 1EC
HP | 8712ET | Network Analyzer | Network Analyzers | US39250830 | 10283 |  | 0B0, 1E1, 1EC
HP | 85046B | S-parameter Test Set | Multiport Testers and S-parameters | 3033A01283 | 10300
HP | 87075C | Multiport Test Set | Multiport Testers and S-parameters | US37370289 | 10302 |  | ZVT20-B64 – Additional Port 4 (requires ports 1 to 3)
HP | 87075C | Multiport Test Set | Multiport Testers and S-parameters | US37370293 | 10303
HP | 87075C | Multiport Test Set | Multiport Testers and S-parameters | US39370224 | 10304 |  | ZVT20-B65 – Additional Port 5 (requires ports 1 to 4)
Agilent | 87075C | Multiport Test Set | Multiport Testers and S-parameters | US39370229 | 10305
HP | 87075C | Multiport Test Set | Multiport Testers and S-parameters | US39370263 | 10308 |  | ZVT20-B66 – Additional Port 6 (requires ports 1 to 5)
Atnmicrowave | ATN-4111B | S - Parameter test set, 30kHz - 6GHz | Multiport Testers and S-parameters
Rohde & Schwarz | ZV-Z51 | E-cal kit, 300kHz-8GHz | Calibration Kits | 100454-bu | 10606
HP | 85033D | Calibration kit | Calibration Kits | 3423A01250 | 10695 |  | TBD
HP | 85033D | Calibration kit | Calibration Kits | 3423A01148 | 10696 |  | TBD
Schaffner | NSG2050 | Pulse Generator + PNW2055 Impulse Netw. 1,2/50 - 6/20 CDN 16A | EM Testers/CDNs/EMI Test Receivers/Surge Generators |  | 10103
Schaffner | CDN110 |  | EM Testers/CDNs/EMI Test Receivers/Surge Generators |  | 10115
HAEFELY TRENCH | PESD 1600 |  | ESD Guns
Rohde & Schwarz | CBT | CBT BLUETOOTH TESTER | Bluetooth & Wlan Testers | 100453 | 10403
Rohde & Schwarz | PTW70 | Wireless protocol tester | Bluetooth & Wlan Testers | 100097 | 10404
Rohde & Schwarz | 1117.4030.02 | 4:1 Transformer Unit 100Hz - 10kHz | Audio
Hung Chang | 8204A | Audio oscillator | Audio | 8909C 0205 | 10096
MILMEGA LTD | AS0102-30R | 1-2 GHz 30W Linear Power Amplifier | Power Amplifiers | 981438
MILMEGA LTD | AS0820-8R | 0.8-2 GHz 8W Power Amplifier | Power Amplifiers
Ophir | GRF5016B | 1.4 - 2.4 GHz 25W Power Amplifier | Power Amplifiers | 1020
Sealth Microwave | SL0825-40 | 800 - 2500MHz | Power Amplifiers | 1014
Milmega | AS0822-55 | Power Amplifier, 800 MHz - 2.2 GHz, 55 WATT | Power Amplifiers | 1021508
Amplifier Research | 150W1000M1 | Power Amplifier 150Watts, 80 – 10000 MHz | Power Amplifiers | 307513
Vötsch | VT4011 | Temperature chamber | Temperature and Humidity Chambers | 58566097150010' | 10826
Rohde & Schwarz | NRT-Z44 | Directional Power Sensor 25 MHz-4 GHz | Power Sensors | 829368_005, 833123_020, 102560, 838188_079 | 10014, 10013, 10006, 10605 | 4
Rohde & Schwarz | NRT-Z43 | Directional power sensor, 400 MHz-4 GHz | Power Sensors | 837458_021 | 10012 | 1
Rohde & Schwarz | NRT-Z1 | Diode power sensor, 100MHz-18GHz | Power Sensors | 833894/018 | 10406
Rohde & Schwarz | NRV-Z33 | Peak power sensor, 30 MHz - 6 GHz | Power Sensors | 849914/013 | 10407 | 1
Rohde & Schwarz | NRV-Z51 | Thermal power sensor, DC-18GHz | Power Sensors | 100120 | 10408 | 1
R&S | NRT Z44 | PEAK POWER SENSOR | Power Sensors | 833123/019 | 10520
R&S | NRT Z44 | PEAK POWER SENSOR | Power Sensors | 842957/010 | 10521
Agilent | E9301A | E-series avg power sensor, 10MHz-6GHz | Power Sensors | US39211901
HP | 8482H | power sensor | Power Sensors | 3318A06262
HP | 8487A | power sensor | Power Sensors | 3318A03528
HP | 8482B | power sensor | Power Sensors | 3318A06860
HP | 8482A | power sensor | Power Sensors | US37292781
Rohde & Schwarz | NRT | Directional Power Sensor 25 MHz-4 GHz | Power Meters | 834787_048, 838490_050, 829310_023, 100493, 101663, 102961 | 10007, 10011 ,10008, 10010, 10009 | 6
Agilent | E4418B | EPM series power meter | Power Meters | GB 39401518 ,GB43317703, GB43315314, GB38272948, GB40206202, GB39401897 |  | 1
HP | E4419A | EPM series power meter | Power Meters | GB38270982
Agilent | E4418A | EPM series power meter | Power Meters | US38261299 |  | 1 | OPT. 003
Agilent | E4419B | Power meter | Power Meters | MY40511215 | 10538
Agilent | E4419B | POWER METER | Power Meters | MY45100191 | 10692 |  | N/A
Agilent | N1912A | P-series power meter | Power Meters | my50000594 | 10776 |  | TBD
Anritsu | ML2487A | Power meter | Power Meters | 6k00002934 | 10777 |  | TBD
HP | 437B | Power Meter | Power Meters | 3110a04034 | 10760 |  | 002
HP | 437B | Power Meter | Power Meters | 3125u21928 | 10761 |  | TBD
Agilent | N1912A | P-series power meter | Power Meters | MY45101943 | 10783 |  | 101
Agilent | E4417A | EPM-P series power meter | Power Meters | GB41050246 | 10784 |  | TBD
Agilent | N1912A | P - Series Power | Power Meters | MY45101943
Boonton | 4230 | 2-channel RF Power meter | Power Meters
Gigatronics | 8541B | Universal power meter | Power Meters
Gigatronics | 8652A | Universal power meter | Power Meters
HP | 437B | Power Meter | Power Meters |  |  | 7
HP | E4418B | EPM series power meter | Power Meters |  |  | 2
Agilent | 437B | Power Meter | Power Meters | 2835U00118 | 10288
Agilent | 437B | Power Meter | Power Meters | 3003U02423 | 10292
Agilent | 437B | Power Meter | Power Meters | 2912U00747 | 10293
Agilent | 437B | Power Meter | Power Meters | 3003U01981 | 10295
Agilent | 438A | Power Meter | Power Meters | 2649U00558 | 10298
Agilent | 437B | Power Meter | Power Meters | 2835U00408 | 10299
Rohde & Schwarz | NRVS | 1-Channel Power Meter | Power Meters |  |  | 2
Yokogawa | WT200 | Digital Power Meter | Power Meters |  |  | 6
Yokogawa | WT110 | Digital power meter | Power Meters | 2534HA091
Yokogawa | WT1600 / 760101 | Digital power meter | Power Meters | 27CC07227A | 10178
Yokogawa | WT2010 / 253101 | Digital power meter | Power Meters | 25311HA006 | 10181
Yokogawa | WT1030 / 253630 | Digital power meter | Power Meters | 2536GA230 | 10182
Metrix | PX 120 | Power meter | Power Meters | N/A | 10183
Keithley | 2306 | Dual channel Battery Simulator | Battery Analyzer | 779625 | 10186
National Instruments & Tektronix | GBIB-USB-B | Tektronix Iview External Oscilloscope Cable | Probes | D40A9F
Tektronix | 80A03 | TekConnectProbe Interface Module | Probes | B010216
Tektronix | 012-1605-00 | TekProbe Interface Cable | Probes |  |  | 3
Tektronix | P6247 | 1 GHz Differential Probe | Probes |  |  | 2 | Probe only
Tektronix | P6248 | 1.5 GHz (1.7GHz at 27 celcius) Differential Probe | Probes |  |  | 2
Tektronix | P7330 | Differential Probe 3.5 GHz | Probes | B021395 |  | 1 | Probe with kit
Tektronix | P7330 | Differential Probe 3.5 GHz | Probes | B010296 |  | 1 | Probe only
Agilent | N2774A | DC to 50MHz Current Probe | Probes |  |  | 1
Tektronix | P6245 | Typical Probe, 1.5 GHz | Probes | X003848 |  | 1 | Probe Only
Tektronix | P6246 | Differential Probe, 400 MHz | Probes | B011433, B01339 |  | 2 | Probe Only
Tektronix | P6249 | Active Probe | Probes |  |  | 2
FLUKE | 80T-IR | INFRARED TEMPERATURE PROBE | Probes
Kenwood | TC-80 |  | Probes
Keysight/Agilent/HP | 10020A | Resistive Divider Probe Kit | Probes |  |  | 11
Keysight/Agilent/HP | 10073A | 10:1, 1.5m Passive Probe with Probe ID | Probes
Keysight/Agilent/HP | 10074B | 150MHz Passive probe | Probes |  |  | 3
Keysight/Agilent/HP | 10271A | State probe | Probes
Keysight/Agilent/HP | 1134A | InfiniiMax 7 GHz Probe | Probes
Keysight/Agilent/HP | 1141A | 200 MHz 1:1 Differential Probe | Probes |  |  | 3
Keysight/Agilent/HP | 1142A | 200 MHz Differential Probe must be used with the Keysight 1142A Probe Control and Power Module | Probes | US34513596
Keysight/Agilent/HP | 1142A | 200 MHz Differential Probe must be used with the Keysight 1142A Probe Control and Power Module | Probes | US34513990
Keysight/Agilent/HP | 1145A | 2-Channel, 750 MHz Active Probe | Probes | US34211942
Keysight/Agilent/HP | 1152A | Active Probe, 2.5 GHz | Probes | US37181995 |  | 3
Keysight/Agilent/HP | 1153A |  | Probes |  |  | 2
Keysight/Agilent/HP | 1156A |  | Probes |  |  | 1
Keysight/Agilent/HP | 1159A | 1GHz Differential Probe for Infiniium Oscilloscopes | Probes | US40000529
Keysight/Agilent/HP | 1160A | Miniature Passive Probe, 10:1, 10 Mohm | Probes |  |  | 4
Keysight/Agilent/HP | 1161A | Miniature Passive Probe, 10:1, 10 Mohm | Probes |  |  | 3
Keysight/Agilent/HP | 1161A | Miniature Passive Probe, 10:1, 10 Mohm | Probes
Keysight/Agilent/HP | 1165A | Miniature Passive Probe, 10:1, 10 Mohm | Probes |  |  | 6
Keysight/Agilent/HP | 1168A |  | Probes |  |  | 1
Keysight/Agilent/HP | 41800A | 5Hz Active probe | Probes |  |  | 3
Keysight/Agilent/HP | 54006A | 6Ghz Resistive divider probe kit | Probes |  |  | 2
Keysight/Agilent/HP | 85024A | High-Frequency Probe, 300 kHz to 3 GHz | Probes |  |  | 7
Keysight/Agilent/HP | E2697A | 500MHz High impedance adapter | Probes
Keysight/Agilent/HP | N2774A | 50Mhz Current probe | Probes
Keysight/Agilent/HP | N5445A | InfiniiMax III Differential browser (30 GHz) | Probes |  |  | 2
Keysight/Agilent/HP | N7015A | Test Fixture 20 GHz bandwidth (at -3 dB), de-embeddable up to 30 GHz | Probes
Keysight/Agilent/HP | 1144A |  | Probes |  |  | 2
LeCroy | AP020 | Active FET Probe 10:1 DC - 1 GHz | Probes | 2434219
LeCroy | WL600 | 7.5 GHz Low Capacitance Passive Probe | Probes | 2013, 1979, 1331, 1314, 1300, 0105 |  | 6
Rohde & Schwarz | HZO-50 | HZO50 AC/DC CURRENT PROBE | Probes |  |  | 3
Rohde & Schwarz | HZO-51 | HZO51 AC/DC CURRENT PROBE | Probes
Rohde & Schwarz | RT-ZH10 | RT-ZH10 400MHZ TASTK. PASS 100X | Probes |  |  | 2
Rohde & Schwarz | RT-ZH11 | 400 MHZ PROBE PASS. 1000X | Probes
Rohde & Schwarz | RT-ZM90 | Modular Probe, 9 GHz | Probes |  |  | 2 | RT-ZMA10, RT-ZMA12 and RT-ZMA15
Tektronix | TDS540C |  | Probes | B010865
Tektronix | 6713 | Optical Electric O/E Converter 1300nm 5V/mW 300MHz | Probes
Tektronix | A6302 |  | Probes |  |  | 6
Tektronix | P5050 | 500MHz 11.1 pF 10MΩ 10X Voltage Probe | Probes |  |  | 9
Tektronix | P5100 | 100X 500 MHz Passive High Voltage Probe, 2.5 kV Max. Input | Probes |  |  | 5
Tektronix | P5100A | 100X 500 MHz Passive High Voltage Probe, 2.5 kV Max. Input | Probes |  |  | 1
Tektronix | P6111B | Passive Probe 200Mhz 15.0pF 10MΩ 10X | Probes
Tektronix | P6133 | 10X Passive Probe for 2400 Series Oscilloscope | Probes |  |  | 2
Tektronix | P6137 | 400MHz P6137 Oscilloscope Test Lead 10.8PF Probe FOR 2400 | Probes
Tektronix | P6138 | 400MHz 10X 300V CAT II Passive Voltage Oscilloscope Probe | Probes |  |  | 2
Tektronix | P6205 | 750MHz, <2pF, 1MR, 40V Active FET probe | Probes
Tektronix | P6243 | 1GHz 10X ACTIVE PROBE | Probes
Tektronix | P6330 | 3.5 GHz Differential probe | Probes |  |  | 1
Tektronix | P6339A | Buffered Passive Probe designed for TDS 794D | Probes | B011369 |  | 2
Tektronix | P6473 | 16ch 134Mhz Pattern Generator Probe | Probes
Tektronix | P6474 | 16 CH LVCMOS PATTERN GENERATOR PROBE FOR TLA7PG2 | Probes | J300209 |  | 8
Tektronix | P6474 | 17 CH LVCMOS PATTERN GENERATOR PROBE FOR TLA7PG2 | Probes | J300211 |  | 2
Tektronix | P6562 |  | Probes
Tektronix | P6562A |  | Probes |  |  | 2
Tektronix | P6563A | 500MHz Probe | Probes
Tektronix | P6711 | OPTICAL TO ELECTRICAL O/E Converter | Probes | B010507 |  | 1
Tektronix | P6960 | Single-ended Data Logic Analyzer Probe | Probes |  |  | 11
Tektronix | P7225 | Active Probe, 2.5 GHz | Probes
Tektronix | P7240 | Active probe 4Ghz | Probes |  |  | 2 | Probe only
Tektronix | P7260 | 6GHz ACTIVE PROBE | Probes | B010286 |  | 1 | Probe only
Tektronix | P7313SMA | 13GHz Differential SMA probe | Probes | B020322, B020321 |  | 2
Tektronix | P7350 | Differential probe 5GHz | Probes | B013422
Tektronix | P7380SMA | Differential SMA Probe | Probes
Tektronix | P7506 | 6 GHz Trimode Probe | Probes | SA510517
Tektronix | P7506 | 6 GHz Trimode Probe | Probes
Tektronix | P75116 | 16Ghz Trimode probe | Probes | TM510382 |  | 3
Tektronix | P75116 | 16Ghz Trimode probe | Probes | TM510382 |  | 3
Tektronix | P8018 | Probes & RF equipment | Probes
Tektronix | TAP1500 | Active Probe, 1.5 GHz | Probes |  |  | 5
Tektronix | P5205 | high voltage differential probe | Probes
Tektronix | P6139A | Passive probe | Probes |  |  | 24
TEKTRONIX | P6139A | PASSIVE PROBE, NEW IN BOX | Probes |  |  | 10
Tektronix | P6139B | Voltage probe 500MHz | Probes |  |  | 2
Tektronix | A6302 | Current probe | Probes | B013000 | 10164
Tektronix | P6205 | FET probe 750MHz | Probes | N/A | 10165 | 2
Tektronix | P6205 | FET probe 750MHz | Probes | 0401KBQ | 10166
Tektronix | P6562 | Probe | Probes | N/A | 10167
Yokogawa | SI-9010 | High. volt | Probes | 51295
Yokogawa | 701920 | DIFFERENTIAL PROBE 12V / 500 MHZ | Probes | YJ2003-0061 |  | 1
Yokogawa | 701932 | Current Probe 100 MHz / 30 Arms | Probes | 2007-0144 |  | 1
Yokogawa | PBL5000 701974 | Low capacitance probe, 5 GHz | Probes |  |  | 5
Yokogawa | 701981 | Logic probe | Probes
Yokogawa | PBA2500 | 701913 DC TO 2.5GHZ ACTIVE PROBE | Probes |  |  | 5
Yokogawa | PBC050 | Current probe 50Mhz | Probes
Yokogawa | 701933 | Current Probe 50 MHz / 30 ARMS | Probes | 2008-0005 | 10168
Yokogawa | 700937 | Current Probe, 15A, 50MHz | Probes | 2003-0259 | 10169
Yokogawa | SI-9010 | High voltage differential probe 70MHz | Probes | 051395 | 10170
Yokogawa | SI-9010 | High voltage differential probe 70MHz | Probes | 112448 | 10171
Yokogawa | 701933 | Current probe | Probes | 2006-0159 | 10174
Yokogawa | 701933 | Current clamp probe | Probes | 2005-0227 | 10173
Tektronix | 1103 | 2ch tekprobe power supply | Probes |  |  | 5
Tektronix | AM 503S | Current probe amplifier | Probes | B026610 | 10212
Tektronix | AM 503S | Current probe amplifier | Probes | B021592
TEKTRONIX | TM502A | AM 503B CURRENT PROBE AMPLIFIER | Probes | B032350 |  | 4
Tektronix | TCA-1MEG | 500MHz High Impedance buffer amplifier | Probes | B015642
Tektronix | TCA-BNC | Adapter | Probes |  |  | 7
Tektronix | TCA-SMA | Adapter | Probes |  |  | 3
Tektronix | TCA-292MM | SMA and 2.92mm compatible adapter | Probes |  |  | 7
HP | 1155A |  | Probes
Agilent | 3499B | Switch / control system | Switching Units |  |  | 4
Anritsu | MN7451A | RF Switch driver unit | Switching Units |  |  | 4
Bluetest | ISS11 | 3 x SP4T switch unit | Switching Units
Fluke | NetDaq | Networked data acquisition unit | Switching Units |  |  | 2
HP | 3488A | Switch control unit | Switching Units |  |  | 2
JFW Industries | 50PMA-059 | Switch Assembly (8) 1P6T (40) 1P1T DC | Switching Units
JFW Industries | 50SA-164 | Switch Assembly | Switching Units
JFW Industries | 50SA-366 SMA | Coaxial Switch Unit | Switching Units |  |  | 7
JFW Industries | 50SA-482 SMA | Coaxial Switch Unit | Switching Units |  |  | 7
Keithley Instruments | 2750 | Multimeter / switch system | Switching Units
Keithley Instruments | 7001 | MainFrame | Switching Units |  |  | 6
JFW | 50MS-342 | Matrix Switch, 700-3000mhz | Switching Units | 7312881551 | 10664 |  | TBD
JFW | 50MS-342N | Matrix Switch | Switching Units | 7295981545 | 10665 |  | TBD
JFW | 50MS-334N | Matrix Switch | Switching Units | 7142951512 | 10666 |  | TBD
Orbis |  | RF Switch Unit | Switching Units |  |  | 13
Pickering | 10-910A-001 | 100W Power Supply Module | Switching Units |  |  | 2
Pickering | 10-920-001 | RS232/IEEE | Switching Units
Pickering | 20-645-021 | Multiplexer module | Switching Units |  |  | 2
Pickering | 20-780-512 | 12 x changeover microwave relay 50 Ohm SMA | Switching Units
Pickering | 20-780-528 | 8 x changeover microwave relay 50 Ohm SMA | Switching Units
Pickering | 20-785-522 | Dual 6 channel microwave multiplexer 50 Ohm SMA | Switching Units
Pickering | 20-785-524 | Quad 6 channel microwave multiplexer 50 Ohm SMA | Switching Units |  |  | 2
Rohde & Schwarz | PSL 3 | Industrial controller | Switching Units |  |  | 2
Rohde & Schwarz | SSCU-GW | Switching and signaling condition unit | Switching Units |  |  | 2
HP | 85024A | frequency probe | Switching Units | US38013297 | 10552
HP | 85024A | frequency probe | Switching Units | US38011360 | 10553
HP | 85024A | frequency probe | Switching Units | 2801A05711 | 10554
TEKTRONIX | P7260 | OSCILLOSCOPE PROBE | Switching Units | B012894 | 10522
Fluke | PM5136 | Function generator, 0.1mHz-5MHz | Function Generators |  |  | 4
HP | 3325A | Synthesizer / function generator | Function Generators |  |  | 3
HP | 3325B | Synthesizer / function generator | Function Generators
Agilent | 81104A | Pulse pattern generator, 80 MHz | Function Generators |  |  |  | 2
HP | 8110A | Pulse generator, 150 MHz | Function Generators
Keysight/Agilent/HP | 8904A | Multifunction Synthesizer DC-600KHz | Function Generators
Rohde & Schwarz | ABFS | Fading simulator | Function Generators
Rohde & Schwarz | ADS | Dual arbitrary waveform generator | Function Generators
Rohde & Schwarz | ADS | Dual arbitrary waveform generator | Function Generators
Rohde & Schwarz | AFGU | Function Generator, 1 uHz - 20 MHz | Function Generators
Rohde&Schwarz | AFGU | FUNCTION GENERATOR | Function Generators | 838430/003 | 10558
Rohde&Schwarz | AMIQ | I/Q MODULATION GENERATOR | Function Generators | 829293/013 | 10560
R&S | AMIQ | I/Q MODULATION GENERATOR | Function Generators | 100359 | 10561
Rohde&Schwarz | AMIQ | I/Q MODULATION GENERATOR | Function Generators | 836990/030 | 10562
Rohde&Schwarz | AMIQ | I/Q MODULATION GENERATOR | Function Generators | 100113
Sony Tektronix | AWG2021 | 4 ch waveform generator | Function Generators | J320455 | 10112
HP | 335C | VHF Attenuator | Attenuators | 1203A31198
HYTEM FRANCE |  | LTE Band VII Air Interface Simulator UL/DL separated control | Attenuators | 14-11-39 | 10640 |  | TBD
HYTEM FRANCE |  | LTE HO MIMO SIMULATOR 700-2700-63 dB - TCPIP remote control | Attenuators | 14-03-27 | 10641 |  | TBD
HYTEM FRANCE |  | LTE HO MIMO SIMULATOR 700-2700-63 dB - TCPIP remote control | Attenuators | 15-05-68 | 10642 |  | TBD
HYTEM FRANCE |  | LTE HO MIMO SIMULATOR 700-2700-63 dB - TCPIP remote control | Attenuators | 15-08-70 | 10643 |  | TBD
HYTEM FRANCE |  | LTE HO SIMULATOR 700-2700 MHz | Attenuators | 12-05-02 | 10644 |  | TBD
HYTEM FRANCE |  | LTE HO SIMULATOR 700-2700 MHz | Attenuators | 10-42-02 | 10645 |  | TBD
JFW Industries | 50PA-179 | GPIB attennuator DC-3000MHz | Attenuators
JFW Industries | 50PA-405 SMA | Coaxial Switch Unit | Attenuators
JFW Industries | 50PA-465 N | Programmable assembly | Attenuators |  |  | 2
JFW Industries | 50PA-557 | Programmable assembly | Attenuators |  |  | 2
JFW Industries | 50PA-014 | GPIB attenuator, DC 3000MHz | Attenuators
JFW | 50BR-008 | Benchtop Attenuator | Attenuators |  |  | 2
JFW | 50BR-112 | Benchtop Attenuator | Attenuators |  |  | 2
JFW | 50PA-160 / 800-2200MHZ | Programmable Attenuator Assembly | Attenuators | 3961760517 | 10646 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4870080738 | 10647 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4018180530 | 10648 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4296060623 | 10649 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4870070738 | 10650 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4123900549 | 10651 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4106910547 | 10652 |  | TBD
JFW | 50PA-245 / 500-2500mhz | Programmable Attenuator Assembly | Attenuators | 4018170530 | 10653 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly | Attenuators | 6123401212 | 10654 |  | TBD
JFW | 50PA-300 SMA | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 6123431212 | 10655 |  | TBD
JFW | 50PA-300 SMA | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 5671461039 | 10656 |  | TBD
JFW | 50PA-300 SMA | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 6045411151 | 10657 |  | TBD
JFW | 50PA-300 SMA | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 571233045 | 10658 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 567144 1039 | 10659 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 5712321140R | 10660 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 6045391151 | 10661 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 5671451039 | 10662 |  | TBD
JFW | 50PA-300 | Programmable Attenuator Assembly, 500-2500Mhz | Attenuators | 5712311045 | 10663 |  | TBD
JFW | 50PA-557 SMA | Programmable Attenuator Assembly | Attenuators | 6940171424 | 10667 |  | TBD
JFW | 50PA-557 | Programmable Attenuator Assembly | Attenuators | 6940221424 | 10668 |  | TBD
JFW | 50PA-557 | 8 Ch N-type electronic attenuator assembly | Attenuators | 686227-1410 | 10669 |  | TBD
JFW | 50PA-557 | 8 Ch SMA electronic attenuator assembly | Attenuators | 731286-1551 | 10670 |  | TBD
JFW | 50PA-557 | 8 Ch SMA electronic attenuator assembly | Attenuators | 731285-1551 | 10671 |  | TBD
JFW | 50PA-590 N / 700-2700MHZ | Programmable Attenuator Assembly | Attenuators | 5806001725R | 10672 |  | TBD
JFW | 50PA-590N | Programmable Attenuator Assembly | Attenuators | 5805981111 | 10673 |  | TBD
JFW | 50PA-590N 24X N BACK | Programmable Attenuator Assembly | Attenuators | 5937621134 | 10674 |  | TBD
JFW | 50PA-590 N / 700-2700MHZ | Programmable Attenuator Assembly | Attenuators | 5914831725R | 10675 |  | TBD
JFW | 50PA-606 | Programmable Attenuator Assembly | Attenuators | 581916 1114 | 10676 |  | TBD
JFW | 50PA-606 | Programmable Attenuator Assembly | Attenuators | 5766441103 | 10677 |  | TBD
JFW | 50PA-758N / 450-3000MHZ | Programmable Attenuator Assembly | Attenuators | 7510401735 | 10678 |  | TBD
JFW | 50PA-758N / 450-3000MHZ | Programmable Attenuator Assembly | Attenuators | 6971531427 | 10679 |  | TBD
JFW | 50PA-758N | Programmable Attenuator Assembly | Attenuators | 6536791325 | 10680 |  | TBD
JFW | 50PA-765 | Programmable Attenuator Assembly | Attenuators | 6640931337 | 10681 |  | TBD
Keysight/Agilent/HP | 11713A | Attenuator/Switch Driver | Attenuators |  |  | 10
Keysight/Agilent/HP | 8494G | Programmable Step Attenuator | Attenuators |  |  | 12
Keysight/Agilent/HP | 8495G | Programmable Step Attenuator | Attenuators |  |  | 6
Keysight/Agilent/HP | 8496G | Programmable Step Attenuator | Attenuators |  |  | 5
MCE/Weinschel | 24-30-34 | Attenuator ( DC - 8.5 GHz, 30 dB, 50W) | Attenuators |  |  | 4
Weinschel Corp | 940-114-33-1 | Attenuator | Attenuators |  |  | 1
Weinschel | 8310-36-R | Programmable Attenuator | Attenuators | ser.378 | 10026
National Instruments | NI PXI N114 |  | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | 6034E | 200 kS/s Multifunction I/O, 16 Inputs, 16-Bits | NI & Aeroflex Cards and Other Components |  |  | 3
National Instruments | 6052E | 333kS / s Multifunction I/O, 16 Inputs, 16 Bits | NI & Aeroflex Cards and Other Components |  |  | 3
National Instruments | NI PCI-6120 |  | NI & Aeroflex Cards and Other Components |  |  | 3
National Instruments | PXIe-8106 | Embedded Controller | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PCI-6527 | Digital I/O Device | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PCI-6713 |  | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PCIe-1429 |  | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PXI-2590 | 1X4 1.3 GHz Mux | NI & Aeroflex Cards and Other Components |  |  | 2
National Instruments | NI PXI-5900 | Differential Amplifier | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PXI-6120 | Simultaneous Sampling Multifunction I/O | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PXI-6133 | S Series 8Ch, 14-Bit, 2.5MS/s Multifunction DAQ | NI & Aeroflex Cards and Other Components |  |  | 3
National Instruments | NI PXI-6259 | M Series Multifunction DAQ | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PXI-7830R | Reconfigurable I/O | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PXI-8331 | MXI-4 | NI & Aeroflex Cards and Other Components |  |  | 13
National Instruments | NI PCI-9820D |  | NI & Aeroflex Cards and Other Components |  |  | 1
National Instruments | NI PCIe-8361 | Express device | NI & Aeroflex Cards and Other Components |  |  | 1
NI | PCI-6221 | Multifunction I/O Device, 191329C-03L | NI & Aeroflex Cards and Other Components |  |  | 45
NI | PCI-FBUS | Field Bus Interface Card, 188454A | NI & Aeroflex Cards and Other Components |  |  | 40
Softing | Profibus PROFIusb |  | NI & Aeroflex Cards and Other Components |  |  | 19
Softing | PROFIBUS PB-IF-1MS V1.01 |  | NI & Aeroflex Cards and Other Components |  |  | 1
NI | DAQCard-1200 182858G-01 |  | NI & Aeroflex Cards and Other Components |  |  | 1
Viator | PCMCIA Interface for HART networks |  | NI & Aeroflex Cards and Other Components |  |  | 1
NI | CB-68L PR | 84700D-01L, | NI & Aeroflex Cards and Other Components |  |  | 52
Siemens | 157-0AC82-0XA0 | DP/PA Couple | NI & Aeroflex Cards and Other Components |  |  | 52
Mactek Viator | RS232 HART Interface |  | NI & Aeroflex Cards and Other Components |  |  | 52
MGV / Powernet | PH30-2401 | POWER SUPPLY | NI & Aeroflex Cards and Other Components |  |  | 48
INOR | 70ISP30001 | IsoPAQ-30P Isolation Transmitter | NI & Aeroflex Cards and Other Components |  |  | 100
Phoenix | PLC-BSC-5DC/21 | relay base | NI & Aeroflex Cards and Other Components |  |  | 940
Aeroflex | 3010 | PXI RF Synthesizer | Aeroflex |  |  | 12
Aeroflex | 3025 | Digital RF Signal Generator | Aeroflex |  |  | 2
Aeroflex | 3065 | 6 GHz PXI RF Combiner Module | Aeroflex |  |  | 1
Aeroflex | 3066 | Multi-Path Active Combiner | Aeroflex |  |  | 6
Aeroflex | 3030A | Wideband RF Digitizer | Aeroflex |  |  | 2
Aeroflex | 3035C | Wideband RF Digitizer | Aeroflex |  |  | 7
Aeroflex | PXI 82547 | 18slots | Aeroflex |  |  | 0
Ranatec | RI 1601 |  | Ranatec |  |  | 6
Spirent | 6000C | Performance analysis system | Spirent
Spirent | GSS6400 RPS | GNSS Record and playback system | Spirent | 0072
Spirent | GSS6560 | Multi-channel GPS/SBAS Simulator, 12 channels | Spirent | 9132
Spirent | SPT-C1 | Base Model SPT-C1 | Spirent | R14281016
Spirent | SR3410 | RF Converter 850MHz | Spirent | RFC280C1 |  |  | 02/2008
Spirent | SR3410 | WCDMA Network Emulator | Spirent | WNE270B2
Spirent | SR3420 | WCDMA Network Emulator | Spirent | UNE290E4
Spirent | SR3420 | WCDMA Network Emulator | Spirent | UNE290F3 |  |  | 03/2017
Spirent | SR3610 |  | Spirent
Spirent | SR5048L | Test configuration unit | Spirent | TCU330H2 |  |  | 03/2017
Spirent | SR5058 | Test configuration unit | Spirent | UCU280A1 |  |  | 02/2008
Spirent | SR5058 | Test configuration unit | Spirent | UCU280A2 |  |  | 02/2008
Spirent | SR5059 | RF Signal Conditioning Unit | Spirent | SEU280B4 |  |  | 02/2008
Spirent | SX/13A | Data Link Simulator | Spirent | N02519208
Spirent | TAS5048 | Test configuration unit | Spirent | TCU270A4
Flir | ThermaCAM SC3000 PAL | High Speed Thermal Imaging System, | Thermal/Infrared IR Cameras | 12860010 | 10635 |  | Set Includes: FLIR ThermaCAM SC 3000 Infrared Thermal Imaging Camera (BC# -L/T*) Microscope lens 10/26 and microscope lens 34/100 Flir Agema 500/900 Parallel Interface RS232 Interface Cable RS422 Interface Cable USB PC Interface Cable AC Adapter/Charger User Manual (PDF) Carrying Case
DELTA ELEKTRONIKA | SM120-25 D | 0 to 140V 0 to 120V 25A | Power Supplys | 426521 | 10622
ET System Electronic GmbH | EAC/MT/SL500/V300 | AC Power Source | Power Supplys | SN07294852 | 10143
TTI | TSX3510P | Programmable DC PSU 35V 10A | Power Supplys | 426521 | 10622
TTI | PL330 | 32V 3A | Power Supplys
Hewlett Packard | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US37476939 | 10623
Hewlett Packard | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US36350785 | 10624
Hewlett Packard | E3631A | DC Power Supply Tri 0 to 6V 5A, 0 to +-25V 1A | Power Supplys | MY40004564 | 10630
Hewlett Packard | E3631A | DC Power Supply Tri | Power Supplys | MY40030236 | 10631
Hewlett Packard | E3631A | DC Power Supply Tri | Power Supplys | MY40013633 | 10632
Agilent | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | MY43001274
Array Electronix | 3645A | DC Power Supply 0-36V / 0-3A | Power Supplys
DELTA ELEKTRONIKA | SM15 200D | 3000 W, Bench, Programmable System DC power supply, 15V/200A | Power Supplys | 816902900051' | 10557
Digimess Instruments | SM3040 | Power supply 30V 40A | Power Supplys | NA | 10142
ELC | AL991S | 0 to +-15V(+30V) 1A, +2 to +5.5V 3A, -15V to +15V 0,2A | Power Supplys
ELC | ALR3003 | 30 V, 3 A | Power Supplys
Elgar | SW3500A | High performance AC/DC Power Source 312V, 2Hz to 6KHz | Power Supplys | 666
EPS | EP50002 | REGULATED PC POWER SUPPLY 500V 0.2A | Power Supplys |  |  | 3
Glassman | PS/ER03R100-220 | High Voltage Power ER Series 3KV 100mA 220B 48-63Hz 1PH | Power Supplys | M930969-01KQ010319
Glassman | PS/FL1.5F1.0 | High Voltage Power FL Series 1.5KV 1A | Power Supplys | N373600-01-CB130426
Grundig | PN300 | Programmable power supply 2 x 30V 2.3A and 5V 2A | Power Supplys | 2089 | 10539
Grundig | PN300 | Programmable power supply 2 x 30V 2.3A and 5V 2A | Power Supplys | 2304 | 10540
Grundig | PN300 | Programmable power supply 2 x 30V 2.3A and 5V 2A | Power Supplys | 1933 | 10541
Grundig | PN300 | Programmable power supply 2 x 30V 2.3A and 5V 2A | Power Supplys | 2398 | 10046
Grundig | PN300 | Power | Power Supplys |  | 10682 |  | TBD
GW | GPR-3060 | Laboratory power suply 35V 7A | Power Supplys
Agilent | 6621A | System DC Power Supply, 7V 10A / 20 V 4A | Power Supplys |  |  | 2
Agilent | N6702A | Low-Profile Modular Power System Mainframe, 1200W C-Modules | Power Supplys |  |  | 5 | All 5 units same 1*N6775A, 1*N7764A, 1*N6773A
Hewlett Packard | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US37477234 | 10623
HP | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US37479429 | 10325
HP | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US37472576 | 10327
HP | 6632B | System DC Power Supply 0-20V / 0-5A | Power Supplys | US37476941 | 10328
HP | 6642A | System DC Power supply 0-20v/0-10A | Power Supplys
HP/Agilent | 6633B (pieni runko) | System DC Power Supply 50V 2A | Power Supplys
HP | 6633A | System DC Power Supply 50V 2A | Power Supplys
HP/Agilent | 6652A | System DC Power Source 0-20V/0-25A | Power Supplys |  |  | 2
HP/Agilent | 6623A | System DC Power Supply 0 to 7V 5A, 0 to 20V 2A, 0 to 7V 10A, 0 to 7V 0 to 20V 4A | Power Supplys
HP/Agilent | 6625A | System DC Power Supply dual precision 0 to 7V 15mA 25W, 0 to 16V 50W 200mA, 0 to 50V 500mA 25W, 0 to 50V 1A 50W | Power Supplys |  |  | 2
HP/Agilent | 6626A | System DC Power Supply dual precision output 7V 0.015A, 16V 0.2A | Power Supplys |  |  | 4
IL POWER | LPS 200 | Autoranging programmable DC- power supply 50V 10A | Power Supplys |  |  | 3
Keysight | N8920A | DC POWER SUPPLY 0 to 80V 170A 5000W | Power Supplys | DE19344663 | 10510
Keysight | N8920A | DC POWER SUPPLY | Power Supplys | DE19344662 | 10511
Keysight/Agilent/HP | 6033A (Iso runko) | System power supply 20V 30A 200w | Power Supplys
Keysight/Agilent/HP | 6542A | 20V, 10A | Power Supplys | US36360400
Keysight/Agilent/HP | 66000A | MPS Mainframe | Power Supplys |  |  | 5 | 66102A DC Power Module, 20V, 7.5A
Agilent | 6653A | System DC Power Supply | Power Supplys |  |  | 1
HP | E3634A | Power | Power Supplys | KR84900127 | 10698 |  | TBD
HP | 6653A |  | Power Supplys | US36401297
IL-power | DF1724 | power | Power Supplys | N/A | 10704 |  | TBD
Manson | SPS-9250 | DC regulater power supply 3 to 15V 25A | Power Supplys | MG271013924 | 10152
Manson | SPS-9400 | DC regulater power supply 3 to 15V 40A | Power Supplys | MG361034736 | 10153
Manson | HCS-3604 | Switching power supply 1 to 60V 15A | Power Supplys | UG301500614
Power Box | 6303DS | DC power supply 3 x 5V 5A | Power Supplys |  |  | 2
Sahitek | TL-230D | Power Supply 2 x 30V 2A, 5V 5A | Power Supplys |  |  | 2
Signaali | TL-750 | Power supply 30V 25A | Power Supplys | 00054 | 10155
Sorensen | DCR 600-0.75B | Power Supply 800V 1A | Power Supplys
Sorensen | DHP100-30M9D | ACDC Control Unit | Power Supplys | 0104C0044
TAKASAGO | GPO500-1R | REGULATED DC POWER SUPPLY 500V 1A | Power Supplys
Xantrex | XFR12-100 | DC POWER SUPPLY 0 to 12V 100A | Power Supplys | 0825A02286 | 10600
XANTREX | XKW 55-55 | DC Power Supply, 55 V, 55 A, 3000 W, Programmable | Power Supplys | E00098555 | 10601
XANTREX | XKW 55-55 | Power supply 0-55A 0-55V | Power Supplys | Z00098327 | 10031
PowerBox | PBX4760-46 | Power supply 0-60V 0-46A | Power Supplys
TOELLNER | TOE 8872-80 | DC POWER SUPPLY, 80V, 15000W | Power Supplys | 60973 | 10727 |  | 015 = GPIB/RS 232 interfaces
TOELLNER | TOE 8872-60 | DC POWER SUPPLY, 60V, 15000W | Power Supplys | 62364 | 10729 |  | 015 = GPIB/RS 232 interfaces
TOELLNER | TOE 8871-60 | DC POWER SUPPLY, 60V, 1000W | Power Supplys | 60672 | 10728 |  | 015 = GPIB/RS 232 interfaces
Toellner | TOE 8871-80 | DC Power Supply 80V, 1000W | Power Supplys | 60151 | 10589 |  | 015 = GPIB/RS 232 interfaces
TOELLNER | TOE8851 | DC Power Supply, 32V 10A | Power Supplys | 54493 | 10730 |  | N/A
NN | DF1760SL3A | Power Supply | Power Supplys | Df1760sl3a-rf03 | 10765 |  | TBD
Manson | SP9602 | Power Supply 30V 30A | Power Supplys | g411104845 | 10773 |  | TBD
Tti | EL302T | Power supply (triple) | Power Supplys | 151614 | 10778 |  | TBD
Elgar | CW2501 | ContinousWave AC Power source | AC Power Source
Chroma | 61601 | Programmable AC source | AC Power Source | ABO000000382 | 10141
HP | 6812A | AC POWER SOURCE/ANALYZER | AC Power Source |  |  | 4
HP/Agilent | 6811A | AC Power Source / Analyzer 300Vrms, 375VA | AC Power Source |  |  | 2
Keysight | N3301A | System DC Elektronic Load |  | 570012183
Keysight | N3301A | System DC Elektronic Load |  | 57010040
Keysight | N3301A | System DC Elektronic Load |  | 41001264
HP | N3300A | System DC Electronic Load | AC Power Source |  |  | 2
Thurlby Thandar Instruments (TTi) | AC1000A | Low distortion power source | AC Power Source | 353275 | 10158
Chroma | 6314 | DC Electronic Load Mainframe + 2 x 63102 (2A/20A, 16V/80V, 100W) | Electronic Loads | 63141472
Chroma | 63201 | DC Electronic load 30A/300A 16V/80V 2.6KW | Electronic Loads | AGY000000257
HP/Agilent | 6050A | System DC Electronic Load | Electronic Loads | 3620A05226 |  |  | 60501P x 1
HP/Agilent | 6050A | System DC Electronic Load | Electronic Loads | US37141840 |  |  | 60503P x 3, 60502P x 3
HP/Agilent | 6050A | System DC Electronic Load | Electronic Loads | 2940A-00897 |  |  | 60502P x 2, 60503A x 2, 60502A x 2
HP/Agilent | 6063B | System DC Electronic Load 3-240V/0-10A, 250W | Electronic Loads |  |  | 7
TTI | LD300 | DC Electronic Load 80A, 80V, 300W | Electronic Loads
EMC Automation | LPDA-8030 |  | Antennas | 120200
Narda | D8830 | 2MHz - 100 GHz | Antennas
ETS EMCO | 2090 | Multi device controller | Antennas
Aeroflex | 4916 | Antenna coupler | Antennas |  |  | 9
Fiberoptic-Heim | LQ 1100 Light Source | 12V, 100W Lamp | Light Sources
JH Technologies | EKE ACE Light Source | 150 Watts | Light Sources | 62440
Intralux | 6000-1 Light Source |  | Light Sources | 000425
Euda | I-150 | Fiber Optic LightSource 150 Watts | Light Sources
Euda | I-150 | Fiber Optic LightSource 150 Watts | Light Sources
Sartorius | CP16001S | Precision scale | Scale
Bausch & Lomb |  | Microscope with light source | Microscopes
Hirox | MX-2010Z | Low-range 20x-100x Zoom Lens | Microscopes
Vision | SX45 | Microscope | Microscopes | 80624 | 10628
EAS | LED405 | Microscope Light | Microscopes | 001 | 10629
HP | 3478A | Multimeter | Multimeters |  |  | 4
Keithley | 2750 | Multimeter/Switch System, Integra Series | Multimeters |  |  | 1
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0839293 | 10074
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0839263 | 10075
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0856328 | 10076
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 08332867 | 10077
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0778790 | 10078
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 1008731 | 10080
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0902878 | 10081
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 1003262 | 10082
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 1001011 | 10083
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 0839285 | 10084
Keithley | 2015 | THD / GPIB multimeter | Multimeters | 1043860 | 10085
Keithley | 2015 | THD Multimeter | Multimeters | 707841 | 10185
Uni-Trend | UT61E | Multimeter | Multimeters | 1110861037 | 10086
HP | 34401A | DIGITAL MULTIMETER | Multimeters | 3146A76523 | 10542
HP | 34401A | Multimeter | Multimeters | ser.laber removed | 10543
Hewlett Packard | 34401A | Multimeter | Multimeters | 3146A42020 | 10617
Hewlett Packard | 34401A | Multimeter | Multimeters | US36015698 | 10618
Hewlett Packard | 34401A | Multimeter | Multimeters | US36071886 | 10621
Voltech | PM300 | Three phase power | Power Analyzers | AR70/6871
Voltech | PM300 | Three phase power | Power Analyzers | AR71/6965
Voltech | PM3000 | Universal power analyzer | Power Analyzers
Chauvin Arnoux | C.A 8230 | Power quality analyser 1 | Power Analyzers |  | 10136
Chauvin Arnoux | C.A 8230 | Power quality analyser 2 | Power Analyzers |  | 10137
Voltech | PM300 | Three phase power analyser | Power Analyzers | AR49/4606 | 10138
HP | 5315B | Universal Counter | Universal Counters | 2448403214
HP | 53181A | Frequency Counter, 1.5GHz, OPT. 10 | Universal Counters | 3736A05051 |  |  | 010 - HS Oven
Philips | PM6670 | high resolution timer/counter | Universal Counters | NC 9446 066 70011 | 10090
Hung Chang | 8010A | Multifunction counter | Universal Counters |  | 10091
Keithley | 199 | System DMM / scanner | Universal Counters | 101705 | 10092
Keithley | 775A | Programmable counter / timer | Universal Counters | 540147 | 10093
Sony Tektronix | 308 | Data analyzer | Universal Counters | 302016 | 10094
HP | 5385A | Frequency Counter | Universal Counters | 2730A04352 | 10287
HP | 5385A | Frequency Counter | Universal Counters | 2730A02598 | 10290
HP | 5386A | Frequency Counter | Universal Counters | 2704A00827 | 10291
HP | 5386A | Frequency Counter | Universal Counters | 2704A00846 | 10296
HP | 5385A | Frequency Counter | Universal Counters | 2730A04350 | 10294
A-INFOMW | GF-T4-450-4000 | 4-WAY POWER DIVIDER | RF Accessories
Mini-Circuits | ZFSC-2-10G | 2-way Power Splitter | RF Accessories
Weinschel | 1538RA-20 | Directional Coupler | RF Accessories
MITEQ | CD-501-183-6S | Directional Coupler | RF Accessories
Narda | 3372A-2 | 2-way Power Divider | RF Accessories
Weinschel | WA1515 | 2-way Power Divider | RF Accessories
RLC | C-1530-20-U | Directional Coupler | RF Accessories
FXR | CA-55N | Directional Coupler | RF Accessories
Mini-Circuits | ZFDC-10-5 | 2-way Power Divider | RF Accessories
FXR | CA-84N | 3 dB Hybrid Coupler | RF Accessories
Pulsar | CS10-B22-436/19 | Directional Coupler | RF Accessories
Rohde & Schwarz | RT-ZMA50 | Extended Temperature Kit | RF Accessories
Rohde & Schwarz | RT-ZMA30 | Browser Module | RF Accessories
HP | 16517-68701 | Accessory Kit Master Board | RF Accessories
Rohde & Schwarz | HZP91 | RACKMOUNT-KIT 4RU | Accessories
Rohde & Schwarz | HZP91 | RACKMOUNT-KIT 4RU | Accessories
Rohde & Schwarz | HZP91 | RACKMOUNT-KIT 4RU | Accessories
Rohde & Schwarz | RT-ZMA11 | RT-ZMA11 TIP-CABLE SOLDER-IN ET | Accessories
Rohde & Schwarz | RT-ZMA11 | RT-ZMA11 TIP-CABLE SOLDER-IN ET | Accessories
Rohde & Schwarz | RT-ZMA50 | RT-ZMA50 EXT TEMPERATURE KIT | Accessories
Rohde & Schwarz | RT-ZMA50 | RT-ZMA50 EXT TEMPERATURE KIT | Accessories
Kramer | VM-80V | Video Distributor | TV/Video Testers | 16060613837 | 10374
Kramer | VM-80V | Video Distributor | TV/Video Testers | 16060613840 | 10375
Kramer | VM-80V | Video Distributor | TV/Video Testers | 21080731475 | 10376
Kramer | VM-80V | Video Distributor | TV/Video Testers | 05100020700060 | 10377
Kramer | VM-80V | Video Distributor | TV/Video Testers | 03101794300067 | 10378
R&S | EMFT | TV Test Receiver | TV/Video Testers | 894026/002 | 10333
R&S | EMFT | TV Test Receiver | TV/Video Testers | 894026/003 | 10334
R&S | EMFT | TV Test Receiver | TV/Video Testers | 860353/003 | 10335
R&S | SFQ | TV Test Transmitter | TV/Video Testers | 849323/0009 | 10336
R&S | SFQ | TV Test Transmitter | TV/Video Testers | 829777/012 | 10338
R&S | DVG | MPEG2 Generator | TV/Video Testers | 828276/010 | 10337
Plisch | FMS100 | TV Test Receiver | TV/Video Testers | 0443 | 10370
Sony | VB8000 | Arbitrarry Waveform Generator | Others | 12c110151 | 10771 |  | TBD
R&S | PSU | RF-Relay Matrix | Others | 834229/013 | 10763 |  | TBD
Agilent | 11713A | Attenuator Switch driver | Others | 3748a08244 | 10774 |  | TBD
Agilent | 11713A | Attenuator Switch driver | Others | 3748a08243 | 10764 |  | TBD
Agilent | E5810A | Lan GPIB Gateway | Others | my43003824 | 10772 |  | TBD
Azimuth | MX2 | Fading emulator | Others | 22151599 | 10694 |  | TBD
Orbis | Obelix | SSU | Others | N/A | 10703 |  | TBD
Lecroy | MS -32 | Digital Logic Pod | Others
Opticlink | model 1394-400LC |  | Others
EXFO | NP200186, | TravelHawk Portable | Others | ND346361555 | 10512
Agilent | 8163A | Lightwave Multimeter | Others | DE38703876 | 10306
Agilent | 8163A | Lightwave Multimeter | Others | DE38705797 | 10307
HP | 8153A | Lightwave Multimeter | Others | 2946G10820 | 10301
Aeroflex | 6400-141 | Frequency converter | Others
Agilent | 8960 series 10 | Wireless communications test set | Others
Agilent | T1141A | RFID HFT test set | Others
Anritsu | MN7451A | RF switch driver unit | Others |  |  |  | 2
Anritsu | MN7462A | RF Interface unit | Others
Anritsu | MN7463B | RF combiner unit | Others
Anritsu | MN7484B | RF Interface unit for diversity | Others
Anritsu | ML2437A | Power Meter | Others | 6K00004286
Catalyst |  | Test and development tools | Others
Chroma | Model 6408 | Programmable AC Source | Others
UBS Unique Broadband Systems | DAB 3000 | DAB 3000 Modulator | Others
Philips | PM5688 | Nicam Sound Demodulator | Others | KU.010624 | 10312
HP | 8152A | Optical Power Meter | Others | 2550G00969 | 10297
Megger | FT4 | Breakdown Tester | Others | 38252 1003 0796 | 10313
Datum Inc. | ET6000L-OCXO | GPS Frequency Generator | Others | 5450 | 10319
Erichse | 295 | Cross Hatch cutter | Others |  |  |  | 2
Finero | FST-120 | Insulation Resistance meter | Others
Fluke | PM3380A | Autoranging combiscope 100MHz 100MS/s | Others
Fluke | 80TK | Thermocouple module | Others |  | 10095
Gossen | Mavolux digital | Light meter | Others |  | 10088
Uprtek | MK350D | Light meter | Others |  | 10089
HP | 8146A | Optical time domain reflectometer 1310/1550nM SM | Others
HP | 3456A | Digital Volt meter | Others
HP | 53310A | Modulation Domain Analyzer | Others | 3121A00707 |  |  | 001,010 & 031
HP | 8970B | Noisefigure meter | Others |  |  |  | 3
Keysight/Agilent/HP | 3764A | Digital Transmission Analyzer | Others
Keysight/Agilent/HP | 8901A | Modulation Analyzer | Others
Keysight/Agilent/HP | 8970B | Noice Figure Meter | Others
Kistler | 2805A | With sensor for mold, cavity pressure and temperature | Others
Konica Minolta | 330S | Camera | Others
Konica Minolta | 330S | Camera | Others
Lambrecht | 252 | weather station | Others | 670999.0002, 632946.0029 | 10207, 10208 | 2
Lecroy | 2500H | Protocol analyzer system | Others
Metric | Varivolt | Variac | Others |  | 10108
Micropross |  | MP300 TCL2 Package | Others
Agilent | 81130A | PULSE/PATTERN GEN.MAINFRAME 400/660 MHZ | Others | DE38A00105 | 10548
KEITHLEY | S46-66665678 | RF Switch System | Others | 1432632 | 10555
NetHawk | M5 |  | Others
Q-LAB | CR10 | Calibration Radiometer | Others | 07-3518-2-CR10
R&S | ESH 3-Z5 | TWO-LINE-V-VECTOR | Others |  |  |  | 1
Racal Instruments | 6111 | GSM BTS TEST SYSTEM | Others
Racal Instruments/Aeroflex | 6113E | Digital radio test set | Others |  |  |  | 3
R&S | FAM | Modulation Analyzer | Others | 872027/0004 | 10330
R&S | FAM | Modulation Analyzer | Others | 871293/0183 | 10331
R&S | FAM | Modulation Analyzer | Others | 860869/0016 | 10332
Rohde & Schwarz | CRTU-RU | Universal protocolla tester | Others |  |  |  | 2
Rohde & Schwarz | EFA | TV test receiver | Others |  |  |  | 2
Rohde & Schwarz | SFSZ | Satellite IF test transmitter, 50 - 750 MHz | Others
Rohde & Schwarz |  | TS-COMB Box | Others |  |  |  | 2
Hioki | 3283-20 | Clamp On Leak Tester | Others | 80920347 | 10134
Yokogawa | 700938 | Current clamp power supply | Others | 2004-0036 | 10172
Sypris | 5180 | Gauss/Tesla Meter | Others
Tektronix | WCA 280A | Wireless communications analyzer | Others | J300227 |  |  | 3
Texas Instruments | TPS2379EVM-106 | Evaluation Module | Others
Texas Instruments | TPS23861EVM-612 | Evaluation Module | Others
Wavetek | 4201S | Communication test set | Others
Willtek | 4403 | Mobile phone tester | Others
TEC | B-372-QP | Printer | Others | OE003517 L | 10383
TEC | B-372-QP | 624 | Others | 8P001816 L | 10384
Quanta | LB9 | Ethernet switch | Others |  | 10071
Vaculab | 7914.359 | Vacum sealer | Others | 212569 | 10627
KISTLER | 2854A131 |  | Others | 1594535
Agilent | E4406A |  | Others
Agilent | E4406A |  | Others
Index SAR | IXB-030 | CTIA SAM Phantom | Special Equipment |  |  | 3
Index SAR | IXB-054 | R&L Ultra Wide PDA Phantom Hand | Special Equipment |  |  | 1
Index SAR | IXB-053 | R&L CTIA PDA Hand Phantom | Special Equipment |  |  | 1
Index SAR | CTIA IXB-050 Mono, IXB-051 Fold, IXB-052 Data & IXB-053 PDA | Hand Phantom Kit (Right Hand) | Special Equipment |  |  | 1
IndexSar | CTIA IXB-050 Mono, IXB-051 Fold, IXB-052 Data & IXB-053 PDA | Hand Phantom Kit (Left Hand) | Special Equipment |  |  | 1
Spirent | 8100 Mobile Device System | Spirent's 8100 Mobile Device System. | Mobile Device System
Tektronix | TLA 720 | Logic Analyzer + Modules | Logic Analyzers - Mainframes and Modules |  |  |  | 2x TLA 7Q4, 2x TLA 7NA4, TLA 7E1
Tektronix | TLA7012 | Logic Analyzer (Portable Mainframe) + TLA 7AA4 + 4 x P6810 | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7AA1 | 34 channel logic Analyzer module with MagniVu and iView acquisition, 8GHz timing, 120 MHz state, 2Mb depth | Logic Analyzers - Mainframes and Modules |  |  | 1 | 2S
Tektronix | TLA7L1 | 34 channel LA module with magniVu acquisition | Logic Analyzers - Mainframes and Modules |  |  | 1 | STD
Tektronix | TLA7AA4 | 136 channel Logic Analyzer module, 8 GHz timing, 120 MHz state, 128 Kb depth | Logic Analyzers - Mainframes and Modules |  |  | 11 | STD
Tektronix | TLA7PG2 | 64 Channel module pattern generator, 1Mb/2Mb Memory depth | Logic Analyzers - Mainframes and Modules |  |  | 6 | 1M
Tektronix | TLA7N1 | 33 Channel Logic Analyzer module 2GHz timing, 1000MHz state, 64k depth | Logic Analyzers - Mainframes and Modules |  |  | 1 | STD
Tektronix | TLA7L4 | 135 channel logic analyzer module. 2GHz timing, 100MHz state, 32k depth | Logic Analyzers - Mainframes and Modules |  |  | 1 | STD
Tektronix | TLA7N4 | 136 channel logic analyzer module, 2GHz timing, 100MHz state, 32K depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7AB4 | 135 channel logic analyzer module, 8GHz timing, 450MHz state, 64M depth | Logic Analyzers - Mainframes and Modules |  |  | 2
Tektronix | TLA7BB4 | Logic Analyzer Memory Module | Logic Analyzers - Mainframes and Modules |  |  | 1 | STD
Tektronix | TLA7AA2 | 67 channel logic analyzer module 8GHz timing, 235 MHz state, 32Mb depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7AA4 | 135 channel logic analyzer module, 8GHz timing, 120MHz state, 32M depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7BB4 | Logic Analyzer Module, 136 Channels, 50 Ghz Magnivu Timing, 750 Mhz State Clock, 2 Mb Record Length, 4 Bnc Analog Probe Outputs With 3 Ghz Bandwidth | Logic Analyzers - Mainframes and Modules |  | 10067 | 4
Tektronix | TLA7N4 | 135 channel logic analyzer module. 2GHz timing, 100MHz state, 4m depth | Logic Analyzers - Mainframes and Modules |  |  |  | 3S
Tektronix | TLA7N4 | 135 channel logic analyzer module. 2GHz timing, 200MHz state, 1m depth | Logic Analyzers - Mainframes and Modules |  |  |  | 6S
Tektronix | TLA7N4 | 135 channel logic analyzer module. 2GHz timing, 100MHz state, 1m depth | Logic Analyzers - Mainframes and Modules |  |  | 2
Tektronix | TLA7N4 | 135 channel logic analyzer module, 2GHz timing, 100MHz state, 4M depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7E2 | 3 Channel DSO module, 1GHz bandwith, 5GS/s sample rate, 15k depth | Logic Analyzers - Mainframes and Modules |  |  | 2
Tektronix | TLA7AB4 | 135 channel logic analyzer module, 8GHz timing, 120MHz state, 64M depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7D1 | 1 channel DSO module, 500MHz bandwith, 2.5GS/s sample rate, 15K depth | Logic Analyzers - Mainframes and Modules |  |  | 2
Tektronix | TLA7L4 | 135 channel logic analyzer module, 2GHz timing, 100MHz state, 32K depth | Logic Analyzers - Mainframes and Modules
Tektronix | TLA7Q4 | 135 channel logic analyzer module, 2GHz timing, 100MHz state, 64M depth | Logic Analyzers - Mainframes and Modules |  |  | 3
Wainwright | A batch of notch filters | GSM/WCDMA Notch filters | Filters
Wainwright | WCG1805/1880-1785/1910-60/11SS | Bandpass Filter | Filters |  |  | 34
Wainwright | WCG1930/1990-1910/2015-60/11SS | Bandpass Filter | Filters |  |  | 34
Wainwright | WRCA415-0.1/50-6EE | Ultra Stable Notch Filter | Filters |  |  | 1
Wainwright | WRCA836.6-0.3/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 3
Wainwright | WRCA836-0.2/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 1
Wainwright | WRCA897.6-0.2/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 1
Wainwright | WRCA902.4-0.3/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 1
Wainwright | WRCA902.4-0.3/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 2
Wainwright | WRCA902-0.2/50-6SS | Ultra Stable Notch Filter | Filters |  |  | 4
Wainwright | WRCA948-0.3/50-6EE | Ultra Stable Notch Filter | Filters |  |  | 2
Wainwright | WRCD1747.4-0.2/50-10SS | Ultra Stable Notch Filter | Filters |  |  | 3
Wainwright | WRCD1747.4-0.2/50-10SS | Ultra Stable Notch Filter | Filters |  |  | 2
Wainwright | WRCD1747-0.2/50-10SS | Ultra Stable Notch Filter | Filters |  |  | 3
Wainwright | WRCD1842.4-0.3/50-10EE | Ultra Stable Notch Filter | Filters |  |  | 7
Wainwright | WRCD1842.4-0.3/50-10EE | Ultra Stable Notch Filter | Filters |  |  | 3
Wainwright | WRCD1850/1910-1834/1926-60/10SS | Band Reject Filter | Filters |  |  | 1
Wainwright | WRCD1850/1910-1834/1926-60/10SS | Band Reject Filter | Filters |  |  | 2
Wainwright | WRCD1880.0-0.2/50-10SS | Ultra Stable Notch Filter | Filters |  |  | 6
Wainwright | WRCD1880.0-0.2/50-10SS | Ultra Stable Notch Filter | Filters |  |  | 5
Wainwright | WRCD1945/1950-1929/1966-60/8SS | Band Reject Filter | Filters |  |  | 1
Wainwright | WRCD1960-0.3/50-10EE | Ultra Stable Notch Filter | Filters |  |  | 4
Wainwright | WRCD1960-0.3/50-10EE | Ultra Stable Notch Filter | Filters |  |  | 7
Wainwright | WRCG1709/1786-1699/1796-50/12SS | Band Reject Filter | Filters |  |  | 1
Wainwright | WRCG1727.5/1752.5-1717.5/1767.5-40/8SS | Band Reject Filter | Filters |  |  | 5
Wainwright | WRCG1734.9/1759.9-1724.9/1774.9-40/8SS | Band Reject Filter | Filters |  |  | 7
Wainwright | WRCG1754.9/1779.9-1744.9/1794.9-40/8SS | Band Reject Filter | Filters |  |  | 2
Wainwright | WRCG1805/1880-1785/1905-83/14SS-L | Band Reject Filter | Filters |  |  | 34
Wainwright | WRCG1930/1990-1910/2015-60/11SS | Bandpass Filter | Filters |  |  | 34
Wainwright | WRCG1930/1990-1910/2015-83/14SS-L | Band Reject Filter | Filters |  |  | 34
Wainwright | WRCG2110/2170-2095/2185-83/16SS | Band Reject Filter | Filters |  |  | 35
Wainwright | WRCG2400/2485-2375/2510-60/11SS | Band Reject Filter | Filters |  |  | 6
Wainwright | WRCG2402/2480-2382/2500-52/10SS | Band Reject Filter | Filters |  |  | 32
Wainwright | WRCG822.5/847.5-812.5/862.5-40/8SS | Band Reject Filter | Filters |  |  | 6
Wainwright | WRCG824/849-814/859-50/10SS | Band Reject Filter | Filters |  |  | 1
Wainwright | WRCG829/834-822/841-40/5SS | Band Reject Filter | Filters |  |  | 2
Wainwright | WRCG880/915-860/935-60/9SS | Band Reject Filter | Filters |  |  | 6
Wainwright | WRCG885.1/910.1-875.1/920.1-40/8SS | Band Reject Filter | Filters |  |  | 6
Wainwright | WRCG890/915-880/925-50/10SS | Band Reject Filter | Filters |  |  | 1
Wainwright | WRCG890/915-880/925-50/10SS | Band Reject Filter | Filters |  |  | 2
Wainwright | WRCG925/960-915/972-83/14SS | Band Reject Filter | Filters |  |  | 41
Wainwright | WRCT1867.5/1892.5-1860/1900-40/12SS | Band Reject Filter | Filters |  |  | 3
Wainwright | WRCT1867.5/1892.5-1860/1900-40/12SS | Band Reject Filter | Filters |  |  | 4
Wainwright | WRCT1937.5/1962.5-1930/1970-40/12SS | Band Reject Filter | Filters |  |  | 3
Wainwright | WRCT1937.5/1962.5-1930/1970-40/12SS | Band Reject Filter | Filters |  |  | 4
Wainwright | WRCT948-0.3/50-10EE | Ultra Stable Notch Filter | Filters |  |  | 2